## Appendix A - Rates
Appendix A
Grant County Public Utility District
Transmission Rates
Fiscal Year Ending December 31, 2017
Draft of June 19, 2019
Revenue Requirements & Rates
Line
No. |  | Units | 115kV - 230kV | Sub 115kV | Source / Comment
| (a) | (b) | (c) | (d) | (e)
Annual Revenue Requirement:
1 | Net Transmission Revenue Requirement | ($) | 30196184.2104 | 50208430.7181 | Appendix A
Rate Divisor:
2 | Existing Transmission System Network Load | MW | 732.5648 | 720.575 | Exhibit VIII
Network Wholesale Service Wheeling Rates (Note A):
3 | Yearly | $/kW-yr | 41.2198 | 69.6783 | Line 1 ÷ (Line 2 *1000)
4 | Monthly | $/kW-mo. | 3.435 | 5.8065 | Line 3 ÷ 12 months
5 | Weekly | $/kW-wk. | 0.79269 | 1.34 | Line 3 ÷ 52 weeks
6 | Daily | $/kW-day | 0.11324 | 0.19142 | Line 5 ÷ 7 days
7 | Hourly | $/kWh | 0.0047055 | 0.0079541 | Line 3 ÷ 8,760 hours
Notes
A | Network Wholesale Service Wheeling Rates include scheduling and dispatch service.

## Appendix B - COS
Appendix B
Grant County Public Utility District
Transmission Cost of Service
Fiscal Year Ending December 31, 2017
Draft of June 19, 2019
|  |  |  | Transmission |  |  | Distribution
[6 empty] | Total |  |  | Total
Line |  |  | Total | T Allocator |  | Allocated to | D Allocator |  | Allocated to
No. | Description | Source/Reference | Electric | Type | % | Transmission | Type | % | Distribution
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
Rate Base
Gross Plant in Service:
1 | Production Plant | Exhibit II | 1304999294.65 | N/A | 0% | 0 | N/A | 0% | 0
2 | Transmission Plant | Exhibit II | 253175109.49 | TP | 100% | 253175109.49 | N/A | 0% | 0
3 | Distribution | Exhibit II | 566294855.48 | N/A | 0% | 0 | DP | 75.55% | 427823054.8233
4 | General | Exhibit II | 493451685.75 | W/S-T | 12.41% | 61239498.1436 | W/S-D | 17.48% | 86275125.1796
5 | Intangible | Exhibit II | 193842855 | W/S-T | 12.41% | 24056740.5112 | W/S-D | 17.48% | 33891497.5128
6 | Total Gross Plant in Service | Sum of Lines 1-5 | 2811763800.37 | GTP= | 12.04% | 338471348.1448 | GDP= | 19.49% | 547989677.5157
Accumulated Depreciation:
7 | Production Plant | Exhibit II | 346166456.1 | N/A | 0% | 0 | N/A | 0% | 0
8 | Transmission Plant | Exhibit II | 97993391.5048 | TP | 100% | 97993391.5048 | N/A | 0% | 0
9 | Distribution | Exhibit II | 280599285.29 | N/A | 0% | 0 | DP | 75.55% | 211986462.9747
10 | General | Exhibit II | 230102636.7464 | W/S-T | 12.41% | 28556736.9669 | W/S-D | 17.48% | 40231160.1373
11 | Intangible | Exhibit II | 90122493 | W/S-T | 12.41% | 11184592.9442 | W/S-D | 17.48% | 15757022.6014
12 | Total Accumulated Depreciation | Sum of Lines 7-11 | 1044984262.6412 |  |  | 137734721.416 |  |  | 267974645.7135
Net Plant In Service:
13 | Production Plant | Line 1 - Line 7 | 958832838.55 |  |  | 0 |  |  | 0
14 | Transmission Plant | Line 2 - Line 8 | 155181717.9852 |  |  | 155181717.9852 |  |  | 0
15 | Distribution | Line 3 - Line 9 | 285695570.19 |  |  | 0 |  |  | 215836591.8485
16 | General | Line 4 - Line 10 | 263349049.0036 |  |  | 32682761.1766 |  |  | 46043965.0422
17 | Intangible | Line 5 - Line 11 | 103720362 |  |  | 12872147.567 |  |  | 18134474.9114
18 | Total Net Plant in Service | Sum of Lines 13-17 | 1766779537.7288 | NTP= | 11.36% | 200736626.7288 | NDP= | 15.85% | 280015031.8022
19 | Materials & Supplies | Exhibit IV | 17842541.69 | W/S-T | 12.41% | 2214336.9458 | W/S-D | 17.48% | 3119591.1622
20 | Prepayments | Exhibit IV | 1547584.93 | DA |  | 11107.017 | DA |  | 0
21 | Cash Working Capital | 1/8 of O&M | 5092164.065 | 1/8 |  | 1156900.7974 | 1/8 |  | 2139922.6784
22 | Total Rate Base | Line 18 + Sum of Lines 19-21 | 1791261828.4138 |  |  | 204118971.489 |  |  | 285274545.6428
23 | Rate of Return | Exhibit V | 6.02% |  |  | 6.02% |  |  | 6.02%
24 | Return on Rate Base | Line 22 * Line 23 | 107833962.0705 |  |  | 12287962.0836 |  |  | 17173527.6477
Expenses
O&M Expenses:
25 | Transmission O&M | Exhibit III | 5378972.85 | TE | 100% | 5378972.85 | N/A | 0% | 0
26 | (Less) Transmission of Electricity by Others (Account 565) | Exhibit III | 572158.73 | TE | 100% | 572158.73 | N/A | 0% | 0
27 | Distribution O&M | Exhibit III | 14367116.55 | N/A | 0% | 0 | DE | 75.55% | 10854034.1342
28 | Total O&M Expenses | Line 25 - Line 26 | 4806814.12 |  |  | 4806814.12 |  |  | 10854034.1342
Allocable A&G Expenses:
29 | Total A&G | Exhibit III | 35930498.4 | W/S-T | 12.41% | 4459130.9618 | W/S-D | 17.48% | 6282090.7026
30 | (Less) Property Insurance (Account 924) Included in Total A&G | Exhibit III | 1023991.8 | W/S-T | 12.41% | 127081.8314 | W/S-D | 17.48% | 179034.7936
31 | Plus Property Insurance (Account 924) | Exhibit III | 1023991.8 | NTP | 11.36% | 116343.129 | NDP | 15.85% | 162291.384
32 | Total A&G Expenses | Line 28 - Line 29 + Line 30 | 35930498.4 |  |  | 4448392.2594 |  |  | 6265347.293
33 | Total O&M and A&G Expenses | Line 21 + Line 31 | 40737312.52 |  |  | 9255206.3794 |  |  | 17119381.4272
Depreciation Expenses:
34 | Transmission | Exhibit II | 6163759.9748 | TP | 100% | 6163759.9748 | N/A | 0% | 0
35 | General | Exhibit II | 15374777.8864 | W/S-T | 12.41% | 1908076.7358 | W/S-D | 17.48% | 2688127.1765
36 | Intangible | Exhibit II | 6870440 | W/S-T | 12.41% | 852651.4546 | W/S-D | 17.48% | 1201228.1813
37 | Distribution | Exhibit II | 18356080.55 | N/A |  |  | DP | 75.55% | 13867606.918
38 | Total Depreciation Expenses | Line 33 + Line 34 + Line 35 | 46765058.4112 |  |  | 8924488.1652 |  |  | 17756962.2758
Taxes Other Than Income Taxes:
39 | Plant Related | Exhibit VI | 990419.29 | GTP | 12.04% | 119223.5821 | GDP | 19.49% | 193024.5874
40 | Labor Related | Exhibit VI | 0 | W/S-T | 12.41% | 0 | W/S-D | 17.48% | 0
41 | Other Related | Exhibit VI | 6035283.73 | N/A | 0% | 0 | N/A | 0% | 0
42 | Total Taxes Other Than Income Taxes | Line 37 + Line 38 + Line 39 | 7025703.02 |  |  | 119223.5821 |  |  | 193024.5874
43 | Total Expenses | Line 32 + Line 36 + Line 40 | 94528073.9512 |  |  | 18298918.1267 |  |  | 35069368.2904
44 | Gross Revenue Requirement | Line 24 + Line 41 |  |  |  | 30586880.2104 |  |  | 52242895.9381
Revenue Credits
Other Revenues (Accounts 450, 451, 454)
45 | 100% Transmission Plant Related | Exhibit VII | 0 | All T | 100% | 0 | N/A | 0% | 0
46 | 100% Distribution Plant Related | Exhibit VII | -2034465.22 | N/A | 0% | 0 | All D | 100% | -2034465.22
47 | Plant Related | Exhibit VII | 0 | GP | 12.04% | 0 | GP | 12.04% | 0
48 | Labor Related | Exhibit VII | 0 | W/S-T | 12.41% | 0 | W/S-D | 17.48% | 0
49 | Other Related | Exhibit VII | 0 | N/A | 0% | 0 | N/A | 0% | 0
50 | Total Other Revenues (Accounts 450, 451, 454) | Sum of Lines 43-46 | -2034465.22 |  |  | 0 |  |  | -2034465.22
51 | Wheeling Revenues Not Accounted for in Rate Divisor
| Transmission | Exhibit VII | -390696 | All T | 100% | -390696 |  | 0% | 0
| Distribution | Exhibit VII | 0 |  |  | 0 | All D | 100% | 0
52 | Total Revenue Credits |  | -2425161.22 |  |  | -390696 |  |  | -2034465.22
Revenue Requirement
53 | Net Transmission Revenue Requirement | Line 42 + Line 49 |  |  |  | 30196184.2104 |  |  | 50208430.7181

## Exh I - Allocators
Exhibit I
Grant County Public Utility District
Development of Allocators
Fiscal Year Ending December 31, 2017
Draft of June 19, 2019
Line |  |  | Total |  |  |  | Allocator
No. |  | Source/Reference | Electric |  |  |  | Type | %
| (a) | (b) | (c) |  |  |  | (d) | (e)
TRANSMISSION PLANT INCLUDED IN RATES:
1 | Total Transmission Gross Plant | Appendix B - Line 2 | [5 empty] | 253175109.49
2 | Less distribution plant included in transmission accounts | Note A | [5 empty] | 0
3 | Less transmission plant included in Ancillary Services | Note B | [5 empty] | 0
4 | Transmission Plant Included in Rates | Line 1 - Line 2 - Line 3 | [5 empty] | 253175109.49
5 | Percentage of Gross Transmission Plant Included in Rates | Line 1 / Line 4 |  |  |  |  | TP= | 100%
TRANSMISSION EXPENSES:
6 | Total transmission expenses | Appendix B - Line 25 | [5 empty] | 5378972.85
7 | Less Transmission Expenses Included in Ancillary Services | Note C | [5 empty] | 0
8 | Included transmission expenses ( line 6 less line 7) | Line 6 - Line 7 | [5 empty] | 5378972.85
9 | Percentage of Transmission Expenses After Adjustment | Line 8 / Line 6 | [5 empty] | 1
10 | Percentage of Transmission Plant Included in Rates | Line 5 |  |  |  |  | TP | 1
11 | Percentage of Transmission Expenses Included in Rates | Line 9 * Line 10 |  |  |  |  | TE= | 1
DISTRIBUTION PLANT INCLUDED IN RATES:
12 | Total Distribution Gross Plant | Appendix B - Line 16 | [5 empty] | 263349049.0036
13 | Plus distributuion plant included in transmission accounts | Line 2 | [5 empty] | 0
14 | Less distribution plant excluded from rates | Exh II - Plant Data | [5 empty] | 64394752.4225
15 | Less distribution plant included in Ancillary Services | Note B | [5 empty] | 0
16 | Transmission Plant Included in Rates | Line 1 - Line 2 - Line 3 | [5 empty] | 198954296.5811
17 | Percentage of Gross Distribution Plant Included in Rates | Line 12 / Line 16 |  |  |  |  | DP= | 75.55%
DISTRIBUTION EXPENSES:
18 | Total distribution expenses | Appendix B - Line 27 | [5 empty] | 14367116.55
19 | Less distribution Expenses Included in Ancillary Services | Note C | [5 empty] | 0
20 | Included distribution expenses ( line 6 less line 7) | Line 18 - Line 19 | [5 empty] | 14367116.55
21 | Percentage of Distribution Expenses After Adjustment | Line 20 / Line 18 | [5 empty] | 1
22 | Percentage of Distribution Plant Included in Rates | Line 17 |  |  |  |  | DP | 0.75548
23 | Percentage of Distribution Expenses Included in Rates | Line 22 * Line 21 |  |  |  |  | DE= | 0.75548
WHOLESALE DISTRIBUTUION PLANT:
24 | Accounts 360-364 | Exh II - Plant Data | [5 empty] | 254795469.81
25 | Accounts 360-364 plus Accounts 368-373 | Exh II - Plant Data | [5 empty] | 369549321.45
26 | Wholesale Distribution Plant Allocator | Line 24 / Line 25 |  |  |  |  | WSDP = | 68.95%
W&S-(T/D) Allocators
| WAGES & SALARY ALLOCATOR (W&S): |  | $ | WS Allocator | TP | T/D Allocation |  | ($ / Allocation)
27 | Production | (Note D) | 20740568.65 | NA | 0 | 0
28 | Transmission | (Note D) | 5091509.76 | All WS | 1 | 5091509.76 | W/S-T = | 12.41%
29 | Distribution | (Note D) | 10403542.91 | WSDP | 68.95% | 7172995.4558 | W/S-D = | 17.48%
30 | Other - Non General | (Note D) | 4790418.25 | NA | 0 | 0
31 | Total | Sum of Lines 12-15 | 41026039.57 |  |  | 12264505.2158 | =
Notes
A | Removes transmission plant determined to be state-jurisdictional by FERC order according to the seven-factor test (e.g., radial facilities), until
balances on Grant PUD's books are adjusted to reflect the removal of such costs from the transmission function.
B | Removes dollar amount of transmission plant included in the development of ancillary services rates and generation step-up facilities, which are
deemed included in ancillary services. For these purposes, generation step-up facilities are those facilities at a generator substation on which there is no
through-flow when the generator is shut down.
C | Removes dollar amount of transmission expenses included in the ancillary services rates.
D | Source: Excel Spreadsheet "2017 and 2018 LABOR"

## Exh II - Plant Data
Exhibit II
Grant County Public Utility District
Gross Plant Investments, Accumulated Depreciation and Depreciation Expense
Fiscal Year Ending December 31, 2017
Draft of June 19, 2019
|  |  |  | (Note A) |  |  |  | (Note B) |  | Wholesale Services
Line | FERC |  |  | Gross Plant | Accumulated |  | Depreciation |  | Wholesale | Gross Plant | Accumulated | Net | Depreciation
No. | Acct No. | FERC Acct Name | GCPUD Description | in Service | Depreciation | Net Plant | Expense | Allocator | Allocation | in Service | Depreciation | Plant | Expense | Comments
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | [6 empty] | (h)
(d)-(e)
Intangible Plant
1 | 301 | Organization |  | 30373 | 0 | 30373 |  | All WS | 100% | 30373 | 0 | 30373 | 0
2 | 302 | Franchises and consents |  | 58906053 | 21877556 | 37028497 | 2723104 | All WS | 100% | 58906053 | 21877556 | 37028497 | 2723104
3 | 303 | Miscellaneous intangible plant |  | 134906429 | 68244937 | 66661492 | 4147336 | All WS | 100% | 134906429 | 68244937 | 66661492 | 4147336
4 |  | Subtotal Intangible Plant | Sum of Lines 1-3 | 193842855 | 90122493 | 103720362 | 6870440 |  |  | 193842855 | 90122493 | 103720362 | 6870440
Hydro Production
5 | 330 | Land and Land Rights |  | 19692643.3 | 0 | 19692643.3 | 0 | N/A | 0% | 0 | 0 | 0 | 0
6 | 331 | Structures and improvements |  | 139054611.1 | 22687885.98 | 116366725.12 | 2147260.11 | N/A | 0% | 0 | 0 | 0 | 0
7 | 332 | Reservoirs, dams, and waterways |  | 508356796.71 | 110021911.48 | 398334885.23 | 5056291.18 | N/A | 0% | 0 | 0 | 0 | 0
8 | 333 | Water sheels, turbines and generators |  | 518989255.74 | 155758447 | 363230808.74 | 9128413.11 | N/A | 0% | 0 | 0 | 0 | 0
9 | 334 | Accessory electric equipment |  | 54457340.35 | 26073227.3 | 28384113.05 | 1527990.57 | N/A | 0% | 0 | 0 | 0 | 0
10 | 335 | Miscellaneous power plant equipment |  | 62626323.9 | 30558295.77 | 32068028.13 | 1761511.22 | N/A | 0% | 0 | 0 | 0 | 0
11 | 336 | Roads, railroads and bridges |  | 1792667.77 | 1047412.3 | 745255.47 | 0 | N/A | 0% | 0 | 0 | 0 | 0
Other Production (Wind)
12 | 346 | Miscellaneous power plant equipment |  | 29655.78 | 19276.27 | 10379.51 | 1482.79 |  | 0% | 0 | 0 | 0 | 0
13 |  | Subtotal Production Plant | Sum of Lines 5-12 | 1304999294.65 | 346166456.1 | 958832838.55 | 19622948.98 |  |  | 0 | 0 | 0 | 0
Transmission Plant
14 | 350 | Land and Land Rights |  | 2002732.05 | 0 | 2002732.05 | 0 | All WS | 100% | 2002732.05 | 0 | 2002732.05 | 0
15 | 352 | Structures and improvements |  | 5703869.62 | 3117846.83 | 2586022.79 | 128033.87 | All WS | 100% | 5703869.62 | 3117846.83 | 2586022.79 | 128033.87
16 | 353 | Station Equipment |  | 88360877.06 | 42082964.5248 | 46277912.5352 | 2303222.8348 | All WS | 100% | 88360877.06 | 42082964.5248 | 46277912.5352 | 2303222.8348
17 | 354 | Towers and fixtures |  | 9747602.05 | 5517492.16 | 4230109.89 | 158191.88 | All WS | 100% | 9747602.05 | 5517492.16 | 4230109.89 | 158191.88
18 | 355 | Poles and fixtures |  | 87146502.61 | 31054315.21 | 56092187.4 | 2435694.08 | All WS | 100% | 87146502.61 | 31054315.21 | 56092187.4 | 2435694.08
19 | 356 | Overhead conductors and devices |  | 60131256.4 | 16163193.03 | 43968063.37 | 1138236.53 | All WS | 100% | 60131256.4 | 16163193.03 | 43968063.37 | 1138236.53
20 | 359 | Roads and trails |  | 82269.7 | 57579.75 | 24689.95 | 380.78 | All WS | 100% | 82269.7 | 57579.75 | 24689.95 | 380.78
21 |  | Subtotal Transmission Plant | Sum of Lines 14-20 | 253175109.49 | 97993391.5048 | 155181717.9852 | 6163759.9748 |  |  | 253175109.49 | 97993391.5048 | 155181717.9852 | 6163759.9748
Distribution Plant
22 | 360 | Land and Land Rights |  | 853208.64 | 0 | 853208.64 | 0 | All WS | 100% | 853208.64 | 0 | 853208.64 | 0
23 | 361 | Structures and improvements |  | 1052383.63 | 807297.96 | 245085.67 | 25739.14 | All WS | 100% | 1052383.63 | 807297.96 | 245085.67 | 25739.14
24 | 362 | Station equipment |  | 172786296.99 | 61354678.8 | 111431618.19 | 5404497.91 | All WS | 100% | 172786296.99 | 61354678.8 | 111431618.19 | 5404497.91
25 | 364 | Poles, towers and fixturs |  | 80103580.55 | 54721564.36 | 25382016.19 | 3183020.22 | All WS | 100% | 80103580.55 | 54721564.36 | 25382016.19 | 3183020.22
26 | 365 | Overhead conductors and devices |  | 86176195.99 | 37913658.26 | 48262537.73 | 2451124.19 | WSDP | 68.95% | 59416437.9941 | 26140565.8402 | 33275872.1539 | 1689991.8449
27 | 366 | Underground conduit |  | 20105792.08 | 4866375.92 | 15239416.16 | 397933.94 | WSDP | 68.95% | 13862465.5535 | 3355250.4817 | 10507215.0718 | 274365.9894
28 | 367 | Underground conductors and devices |  | 90463545.96 | 33020227.95 | 57443318.01 | 2561239.16 | WSDP | 68.95% | 62372463.8517 | 22766661.9999 | 39605801.8518 | 1765913.4984
29 | 368 | Line Transformers |  | 73688080.84 | 53514949.4 | 20173131.44 | 2921392.25 | N/A | 0% | 0 | 0 | 0 | 0
30 | 369 | Services |  | 20503277.65 | 17822997.15 | 2680280.5 | 807770.29 | N/A | 0% | 0 | 0 | 0 | 0
31 | 370 | Meters |  | 13806007.75 | 11373033.79 | 2432973.96 | 334652.79 | N/A | 0% | 0 | 0 | 0 | 0
32 | 373 | Street lighting and signal systems |  | 6756485.4 | 5204501.7 | 1551983.7 | 268710.66 | N/A | 0% | 0 | 0 | 0 | 0
33 |  | Subtotal Distribution Plant | Sum of Lines 22-32 | 566294855.48 | 280599285.29 | 285695570.19 | 18356080.55 |  |  | 390446837.2093 | 169146019.4418 | 221300817.7675 | 12343528.6027
|  | General Plant |  |  |  | 0
34 | 389 | Land and Land Rights |  | 2377715.5 | 0 | 2377715.5 | 0 | All WS | 100% | 2377715.5 | 0 | 2377715.5 | 0
35 | 390 | Structures and improvements |  | 184775016.6 | 23596092.3664 | 161178924.2336 | 4167934.3864 | All WS | 100% | 184775016.6 | 23596092.3664 | 161178924.2336 | 4167934.3864
36 | 391 | Office furniture and equipment |  | 43672057.11 | 43375927.62 | 296129.49 | 53235.67 | All WS | 100% | 43672057.11 | 43375927.62 | 296129.49 | 53235.67
37 | 392 | Transportation equipment |  | 22479766.47 | 19261334.74 | 3218431.73 | 1084346.52 | All WS | 100% | 22479766.47 | 19261334.74 | 3218431.73 | 1084346.52
38 | 393 | Stores equipment |  | 210943.86 | 210943.86 | 0 | 0 | All WS | 100% | 210943.86 | 210943.86 | 0 | 0
39 | 394 | Tools, shop and garage equipment |  | 8263181.6 | 4147861.19 | 4115320.41 | 252577.29 | All WS | 100% | 8263181.6 | 4147861.19 | 4115320.41 | 252577.29
40 | 395 | Laboratory equipment |  | 493371.12 | 493371.12 | 0 | 0 | All WS | 100% | 493371.12 | 493371.12 | 0 | 0
41 | 396 | Power operatied equipment |  | 368133.91 | 368133.91 | 0 | 0 | All WS | 100% | 368133.91 | 368133.91 | 0 | 0
42 | 397 | Communication equipment |  | 225527413.19 | 134693538.74 | 90833874.45 | 9570615.75 | All WS | 100% | 225527413.19 | 134693538.74 | 90833874.45 | 9570615.75
43 | 398 | Miscellanious equipment |  | 5284086.39 | 3955433.2 | 1328653.19 | 246068.27 | All WS | 100% | 5284086.39 | 3955433.2 | 1328653.19 | 246068.27
44 |  | Subtotal General Plant | Sum of Lines 34-43 | 493451685.75 | 230102636.7464 | 263349049.0036 | 15374777.8864 |  |  | 493451685.75 | 230102636.7464 | 263349049.0036 | 15374777.8864
45
|  | Total Plant | Line 4 + Line 13 + Line 21 + Line 33 + Line 44 | 2811763800.37 | 1044984262.6412 | 1766779537.7288 | 66388007.3912 |  |  | 1330916487.4493 | 587364540.693 | 743551946.7563 | 40752506.4639
Notes
A | Source:
B | Wholesale service allocations are determined by GCPUD Management
C | Account Totals
| Account | Amount
| 301 | 30373
| 302 | 58906053
| 303 | 134906429
| 330 | 19692643.3
| 331 | 139054611.1
| 332 | 508356796.71
| 333 | 518989255.74
| 334 | 54457340.35
| 335 | 62626323.9
| 336 | 1792667.77
| 346 | 29655.78
| 350 | 2002732.05
| 352 | 5703869.62
| 353 | 88360877.06
| 354 | 9747602.05
| 355 | 87146502.61
| 356 | 60131256.4
| 359 | 82269.7
| 360 | 853208.64
| 361 | 1052383.63
| 362 | 172786296.99
| 364 | 80103580.55
| 365 | 86176195.99
| 366 | 20105792.08
| 367 | 90463545.96
| 368 | 73688080.84
| 369 | 20503277.65
| 370 | 13806007.75
| 373 | 6756485.4
| 389 | 2377715.5
| 390 | 184775016.6
| 391 | 43672057.11
| 392 | 22479766.47
| 393 | 210943.86
| 394 | 8263181.6
| 395 | 493371.12
| 396 | 368133.91
| 397 | 225527413.19
| 398 | 5284086.39
| Total | 2811763800.37

## Exh III - O&M Expenses
Exhibit III
Grant County Public Utility District
Operations & Maintenance Expenses and Administrative & General Expenses
Fiscal Year Ending December 31, 2017
Draft of June 19, 2019
(Note A)
Line | FERC |  |  | Total | Adjustments | Adjusted
No. | Acct No. | FERC Acct Name | GCPUD Description | Expenses | (Note B) | Expenses | Comments re: Adjustments
| (a) | (b) | (c) | (d) | (e) | (f) | (g)
(d)+(e)
Transmission O&M Expenses:
1 | 560 | Operation Supervision and Engineering | 1001-560000 Elect Revenue-T/Opers Supv & Eng | 102759.02 | 0 | 102759.02
2 | 561 | Load Dispatching | 1001-561000 Elect Revenue-T/Opers Load Dispatching | 49309.23 | 0 | 49309.23
3 | 561 | Load Dispatching | 1001-561010 Elect Revenue-T/Opers Load Dispatch Gen | 1015363.36 | 0 | 1015363.36
4 | 561.5 | Reliability, Planning and Standards Development | 1001-561500 Elect Revenue-T/Opers Load Dispatch QC | 972.09 | 0 | 972.09
5 | 561.6 | Transmission Service Studies | 1001-561600 Elect Revenue-T/Opers Load Dispatch PEC | 633.89 | 0 | 633.89
6 | 562 | Station Expenses | 1001-562000 Elect Revenue-T/Opers Station Exp | 2405.35 | 0 | 2405.35
7 | 563 | Overhead Lines Expenses | 1001-563000 Elect Revenue-T/Opers OH Line Exp | 6013.37 | 0 | 6013.37
8 | 565 | Transmission of Electricity by Others | 1001-565010 Elect Revenue-T/Transmission By Others | 572158.73 | 0 | 572158.73
9 | 566 | Miscellaneous Transmission Expenses | 1001-566000 Elect Revenue-T/Opers Misc Exp | 267559.62 | 0 | 267559.62
10 | 568 | Maintenance Supervision and Engineering | 1001-568000 Elect Revenue-T/Maint Supr & Eng | 40593.5 | 0 | 40593.5
11 | 570 | Maintenance of Station Equipment | 1001-570000 Elect Revenue-T/Maint Sta Equip | 247012.77 | 0 | 247012.77
12 | 571 | Maintenance of Overhead Lines | 1001-571050 Elect Revenue-T/Maint OH Lines | 82758.37 | 0 | 82758.37
13 | 561 | Load Dispatching | 7001-561010 PRP Revenue-T/Opers Load Dispatch Gen | 2841085.63 | 0 | 2841085.63
14 | 567 | Rents | 7001-567000 PRP Revenue-T/Opers Transmission Rent | 6939.41 | 0 | 6939.41
15 | 570 | Maintenance of Station Equipment | 7001-570010 PRP Revenue-T/Maint Sta General | 143408.51 | 0 | 143408.51
16 |  | Total Transmission O&M Expenses |  | 5378972.85 | 0 | 5378972.85
Administrative & General Expenses
17 | 920 | Administrative and General Salaries | 1001-920010 Elect Revenue-A&G Salaries General | 178113.06 | 0 | 178113.06
18 | 920 | Administrative and General Salaries | 1001-920050 Elect Revenue-A&G Certificate Pay | 67756.15 | 0 | 67756.15
19 | 920 | Administrative and General Salaries | 1001-920060 Elect Revenue-A&G Performance Recognition Pr | 55962.79 | 0 | 55962.79
20 | 921 | Office Supplies and Expenses | 1001-921010 Elect Revenue-Ofc Sup&Exp General | 6965610.96 | 0 | 6965610.96
21 | 921 | Office Supplies and Expenses | 1001-921030 Elect Revenue-Ofc Sup&Exp EDP | 16395.02 | 0 | 16395.02
22 | 921 | Office Supplies and Expenses | 1001-921500 Elect Revenue-Ofc Sup&Exp QC Admin Costs | 28150.3 | 0 | 28150.3
23 | 921 | Office Supplies and Expenses | 1001-921600 Elect Revenue-Ofc Sup&Exp PEC Admin Costs | 32743.92 | 0 | 32743.92
24 | 923 | Outside Services Employed | 1001-923010 Elect Revenue-O/S Services Attorney | 243143.31 | 0 | 243143.31
25 | 923 | Outside Services Employed | 1001-923020 Elect Revenue-O/S Services Auditors | 98168.01 | 0 | 98168.01
26 | 923 | Outside Services Employed | 1001-923030 Elect Revenue-O/S Services Consultants | 453010.36 | 0 | 453010.36
27 | 924 | Property Insurance | 1001-924020 Elect Revenue-Property Insurance | 154944.92 | 0 | 154944.92
28 | 924 | Property Insurance | 1001-924500 Elect Revenue-Property Insurance QC | 11571.58 | 0 | 11571.58
29 | 924 | Property Insurance | 1001-924600 Elect Revenue-Property Insurance PEC | 9695.2 | 0 | 9695.2
30 | 925 | Injuries and Damages | 1001-925030 Elect Revenue-Inj & Damages General | 705120.54 | 0 | 705120.54
31 | 925 | Injuries and Damages | 1001-925040 Elect Revenue-Inj & Damages Liab Insur | 285397.6 | 0 | 285397.6
32 | 925 | Injuries and Damages | 1001-925050 Elect Revenue-Inj & Damages Minor Claims | 1094.81 | 0 | 1094.81
33 | 926 | Employee Pensions and Benefits | 1001-926010 Elect Revenue-PERS 1 Expense | -893399.39 | 0 | -893399.39
34 | 926 | Employee Pensions and Benefits | 1001-926020 Elect Revenue-PERS 2/3 Expense | -735396.28 | 0 | -735396.28
35 | 926 | Employee Pensions and Benefits | 1001-926900 Elect Revenue-PERS Expense Reclass GASB 68 | 0 | 0 | 0
36 | 926 | Employee Pensions and Benefits | 1001-926999 Elect Revenue-OPEB Expense | 119873.56 | 0 | 119873.56
37 | 928 | Regulatory Commission Expenses | 1001-928500 Elect Revenue-Reg Comm Exp Ferc QC | 9181.99 | 0 | 9181.99
38 | 928 | Regulatory Commission Expenses | 1001-928600 Elect Revenue-Reg Comm Exp Ferc PEC | 4763.95 | 0 | 4763.95
39 | 929 | Duplicate Charges-Cr. | 1001-929010 Elect Revenue-Dup Charges Kwh Use | -750807.81 | 0 | -750807.81
40 | 929 | Duplicate Charges-Cr. | 1001-929020 Elect Revenue-Dup Charges Admin Off Rent | -186536.64 | 0 | -186536.64
41 | 929 | Duplicate Charges-Cr. | 1001-929980 Elect Revenue-G&A Capitalized On CWIP | -2741567.15 | 0 | -2741567.15
42 | 930.2 | Miscellaneous General Expenses | 1001-930010 Elect Revenue-Misc General Expense | 1957833.06 | 0 | 1957833.06
43 | 930.1 | General Advertising Expenses | 1001-930110 Elect Revenue-Gen Ad Exp Public Relations | 728479.6 | -728479.6 | 0 | Only general advertising related to transmission (i.e., Safety, Education & Outreach) is includable.
44 | 935 | Maintenance of General Plant | 1001-935010 Elect Revenue-Maint Gen Plt Misc | 2841819.69 | 0 | 2841819.69
45 | 935 | Maintenance of General Plant | 1001-935020 Elect Revenue-Maint Gen Plt Communication | 3104495.14 | 0 | 3104495.14
46 | 920 | Administrative and General Salaries | 7001-920010 PRP Revenue-A&G Salaries General | 817427.43 | 0 | 817427.43
47 | 920 | Administrative and General Salaries | 7001-920050 PRP Revenue-A&G Certificate Pay | 99582.35 | 0 | 99582.35
48 | 920 | Administrative and General Salaries | 7001-920060 PRP Revenue-A&G Performance Recognition Pr | 82251 | 0 | 82251
49 | 921 | Office Supplies and Expenses | 7001-921010 PRP Revenue-Ofc Sup&Exp General | 13317776.36 | 0 | 13317776.36
50 | 921 | Office Supplies and Expenses | 7001-921030 PRP Revenue-Ofc Sup&Exp EDP | 24096.5 | 0 | 24096.5
51 | 923 | Outside Services Employed | 7001-923010 PRP Revenue-O/S Services Attorney | 357884.77 | 0 | 357884.77
52 | 923 | Outside Services Employed | 7001-923020 PRP Revenue-O/S Services Auditors | 144281.99 | 0 | 144281.99
53 | 924 | Property Insurance | 7001-924020 PRP Revenue-Property Insurance | 847780.1 | 0 | 847780.1
54 | 925 | Injuries and Damages | 7001-925030 PRP Revenue-Inj & Damages General | 1388993.71 | 0 | 1388993.71
55 | 925 | Injuries and Damages | 7001-925040 PRP Revenue-Inj & Damages Liab Insur | 534748.3 | 0 | 534748.3
56 | 926 | Employee Pensions and Benefits | 7001-926010 PRP Revenue-PERS 1 Expense | -1313069.84 | 0 | -1313069.84
57 | 926 | Employee Pensions and Benefits | 7001-926020 PRP Revenue-PERS 2/3 Expense | -1080845.46 | 0 | -1080845.46
58 | 926 | Employee Pensions and Benefits | 7001-926900 PRP Revenue-PERS Expense Reclass GASB 68 | 0 | 0 | 0
59 | 926 | Employee Pensions and Benefits | 7001-926999 PRP Revenue-OPEB Expense | 183838.44 | 0 | 183838.44
60 | 928 | Regulatory Commission Expenses | 7001-928010 PRP Revenue-Reg Comm Exp Fed Pwr Comm | 1433222.09 | 0 | 1433222.09
61 | 929 | Duplicate Charges-Cr. | 7001-929980 PRP Revenue-G&A Capitalized On CWIP | -2527354.32 | 0 | -2527354.32
62 | 930.2 | Miscellaneous General Expenses | 7001-930010 PRP Revenue-Misc General Expense | 2006697.58 | 0 | 2006697.58
63 | 930.1 | General Advertising Expenses | 7001-930110 PRP Revenue-Gen Ad Exp Public Relations | 1071469.6 | -1071469.6 | 0 | Only general advertising related to transmission (i.e., Safety, Education & Outreach) is includable.
64 | 931 | Rents | 7001-931000 PRP Revenue-Rents Ephrata Office | 186536.64 | 0 | 186536.64
65 | 931 | Rents | 7001-931010 PRP Revenue-Lease Expense | 12779.28 | 0 | 12779.28
66 | 935 | Maintenance of General Plant | 7001-935010 PRP Revenue-Maint Gen Plt Misc | 4852678.15 | 0 | 4852678.15
67 | 935 | Maintenance of General Plant | 7001-935020 PRP Revenue-Maint Gen Plt Communication | 2524054.68 | 0 | 2524054.68
68 |  | Total A&G Expenses |  | 37730447.6 | -1799949.2 | 35930498.4
Distribution O&M Expenses:
69 |  | 580 Operation supervision and engineering. | 1001-580000 Elect Revenue-D/Opers Supv & Eng | 145837.61 |  | 145837.61
70 |  | 581 Load dispatching | 1001-581010 Elect Revenue-D/Opers Load Dispatching | 416741.21 |  | 416741.21
71 |  | 582 Station expenses | 1001-582000 Elect Revenue-D/Opers Station Expense | 589650.5 |  | 589650.5
72 |  | 583 Overhead line expenses | 1001-583000 Elect Revenue-D/Opers OH Lines | 723948.39 |  | 723948.39
73 |  | 584 Underground line expenses | 1001-584010 Elect Revenue-D/Opers Undergrd Prim & S | 94418.59 |  | 94418.59
74 |  | 586 Meter expenses. | 1001-586010 Elect Revenue-D/Opers Meter Install Exp | 1175238.34 |  | 1175238.34
75 |  | 587 Customer installations expenses. | 1001-587000 Elect Revenue-D/Opers Cust Install Exp | 164518.52 |  | 164518.52
76 |  | 588 Miscellaneous distribution expenses. | 1001-588000 Elect Revenue-D/Opers Misc Gen Exp | 6087847.34 |  | 6087847.34
77 |  | 588 Miscellaneous distribution expenses. | 1001-588030 Elect Revenue-D/Opers Misc EDP | 79673.33 |  | 79673.33
78 |  | 590 Maintenance supervision and engineering | 1001-590000 Elect Revenue-D/Maint Supv & Eng | 399940.81 |  | 399940.81
79 |  | 592 Maintenance of station equipment | 1001-592000 Elect Revenue-D/Maint Station Equipmt | 1633340.23 |  | 1633340.23
80 |  | 593 Maintenance of overhead lines | 1001-593010 Elect Revenue-D/Maint OH Line Gen | 1830522.11 |  | 1830522.11
81 |  | 594 Maintenance of underground lines | 1001-594010 Elect Revenue-D/Maint UG Prim & Sec | 845254.72 |  | 845254.72
82 |  | 596 Maintenance of street lighting and signal systems. | 1001-596010 Elect Revenue-D/Maint OH Street Lighting | 50205.84 |  | 50205.84
83 |  | 597 Maintenance of meters. | 1001-597000 Elect Revenue-D/Maint Meters | 129979.01 |  | 129979.01
|  |  |  | 14367116.55 | 0 | 14367116.55
Notes
A | Source: | Excel spreadsheet "2017 2016 financials.xlsx".
B | Adjustments to be identified in column (g).

## Exh IV - M&S and Prepayments
Exhibit IV
Grant County Public Utility District
Materials and Supplies and Prepayments
Fiscal Year Ending December 31, 2017
Draft of June 19, 2019
|  |  |  | (Note A) |  |  | Allocated to
Line | FERC |  |  | Total | Adjustments | Adjusted | Transmission | Production
No. | Acct No. | FERC Acct Name | GCPUD Description | Expenses | (Note B) | Expenses | (Note C) | (Note C) | Comments re: Adjustments
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
(d)+(e)
Materials and Supplies:
1 | 154 | Plant Materials and Operating Supplies | 1001-154110 Elect Revenue-Plant Matls/Stores | 16238705.58 | 0 | 16238705.58
2 | 154 | Plant Materials and Operating Supplies | 1001-154999 Elect Revenue-Inventory Clearing | 33.49 | 0 | 33.49
3 | 163 | Stores Expense Undistributed | 1001-163010 Elect Revenue-Undist Stores Overhead | 1794580.8 | 0 | 1794580.8
4 | 163 | Stores Expense Undistributed | 1001-163020 Elect Revenue-Inventory Count Variance | -190778.18 | 0 | -190778.18
5 |  | Total Materials and Supplies | Sum of Lines 1-4 | 17842541.69 | 0 | 17842541.69
Prepayments
6 | 165 | Prepayments | 1001-165010 Elect Revenue-Prepayments Insurance | 378473.44 | 0 | 378473.44 | 2716.3039 | 375757.1361
7 | 165 | Prepayments | 7001-165010 PRP Revenue-Prepayments Insurance | 1169111.49 | 0 | 1169111.49 | 8390.7132 | 1160720.7768
8 | 165 | Prepayments | 7001-165030 PRP Revenue-Prepayments Water Rights | 172725.84 | -172725.84 | 0 | 0 | 0 | Unrelated to the transmission function.
9 |  | Total Prepayments | Line 6 + Line 7 + Line 8 | 1720310.77 | -172725.84 | 1547584.93 | 11107.017 | 1536477.913
Notes
A | Source: | Excel spreadsheet "2017 2016 financials.xlsx".
B | Adjustments to be identified in column (g).
C | Prepayments related to insurance has been allocated based on 99.2823% to production and 0.7177% to transmission.

## Exh V - ROR
Exhibit V
Grant County Public Utility District
Rate of Return
Fiscal Year Ending December 31, 2017
Draft of June 19, 2019
Line |  | Capitalization | Cost of | Weighted Average
No. | Capital Component | Ratio (Note A) | Capital | Cost of Capital
| (a) | (b) | (c) | (d)
Return/Capitalization Calculations:
1 | Long Term Debt (Note B) | 60% | 3.5% | 2.1%
2 | Proprietary Capital (Note C) | 40% | 9.8% | 3.92%
3 | Total | 100% |  | 6.02%
Notes
A | Target capitalization ratio established by Grant County PUD.
B | Average cost of Grant County PUD's outstanding long-term debt.
C | Cost of equity based on the FERC approved return on equities (ROE) of PacifiCorp and Puget Sound Energy,
which are both interconnected with Grant County PUD. Avista Corporation is also interconnected to the Grant
County PUD transmission system. However, Avista's transmission rate is currently based on a stated rate and,
therefore, there is no specific ROE that has been identified in the determination of the transmission rate (i.e.,
based on a settled black box).

## Exh VI - Other Taxes
Exhibit VI
Grant County Public Utility District
Taxes Other Than Income Taxes
Fiscal Year Ending December 31, 2017
Draft of June 19, 2019
|  |  |  | Total | Allocation
Line | FERC |  |  | Expenses
No. | Acct No. | FERC Acct Name | GCPUD Description | (Note A) | Plant | Labor | Other | Total | Comments re: Allocation
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
(e)+(f)+(g)
Accrued Taxes:
1 | 236 | Taxes Accrued | 1001-236110 Elect Revenue-Accrd Tax Public Util | 910007.08 | 910007.08 |  |  | 910007.08
2 | 236 | Taxes Accrued | 1001-236120 Elect Revenue-Accrd Tax Privilege | 3900347.45 |  |  | 3900347.45 | 3900347.45 | Privilege tax related to hydro developments.
3 | 236 | Taxes Accrued | 1001-236130 Elect Revenue-Accrd Tax Service Other | 1769.91 | 1769.91 |  |  | 1769.91
4 | 236 | Taxes Accrued | 1001-236210 Elect Revenue-Accrd City Tax Ephrata | 44746.72 |  |  | 44746.72 | 44746.72 | City tax related to retail.
5 | 236 | Taxes Accrued | 1001-236220 Elect Revenue-Accrd City Tax Moses Lake | 91508.98 |  |  | 91508.98 | 91508.98 | City tax related to retail.
6 | 236 | Taxes Accrued | 1001-236230 Elect Revenue-Accrd City Tax Quincy | 13378 |  |  | 13378 | 13378 | City tax related to retail.
7 | 236 | Taxes Accrued | 1001-236250 Elect Revenue-Accrd City Tax Soap Lake | 9521.54 |  |  | 9521.54 | 9521.54 | City tax related to retail.
8 | 236 | Taxes Accrued | 1001-236260 Elect Revenue-Accrd City Tax Warden | -2793.89 |  |  | -2793.89 | -2793.89 | City tax related to retail.
9 | 236 | Taxes Accrued | 1001-236270 Elect Revenue-Accrd City Tax Wilson Creek | 502.52 |  |  | 502.52 | 502.52 | City tax related to retail.
10 | 236 | Taxes Accrued | 1001-236290 Elect Revenue-Accrd City Tax Royal City | 6601.72 |  |  | 6601.72 | 6601.72 | City tax related to retail.
11 | 236 | Taxes Accrued | 1001-236300 Elect Revenue-Accrd City Tax George | 2942.95 |  |  | 2942.95 | 2942.95 | City tax related to retail.
12 | 236 | Taxes Accrued | 1001-236310 Elect Revenue-Accrd City Tax Grd Coulee | 6749.24 |  |  | 6749.24 | 6749.24 | City tax related to retail.
13 | 236 | Taxes Accrued | 1001-236320 Elect Revenue-Accrd City Tax Electric City | 3771.99 |  |  | 3771.99 | 3771.99 | City tax related to retail.
14 | 236 | Taxes Accrued | 1001-236330 Elect Revenue-Accrd City Tax Mattawa | 6814.19 |  |  | 6814.19 | 6814.19 | City tax related to retail.
15 | 236 | Taxes Accrued | 1001-236340 Elect Revenue-Accrd City Tax Hartline | 715.93 |  |  | 715.93 | 715.93 | City tax related to retail.
16 | 236 | Taxes Accrued | 1001-236350 Elect Revenue-Accrd City Tax Coulee City | 3584.54 |  |  | 3584.54 | 3584.54 | City tax related to retail.
17 | 236 | Taxes Accrued | 1001-236510 Elect Revenue-Accrd Tax Privilege QC | 6521.15 |  |  | 6521.15 | 6521.15 | Privilege tax related to hydro developments.
18 | 236 | Taxes Accrued | 1001-236600 Elect Revenue-Accrd Tax Privilege PEC | 3229.87 |  |  | 3229.87 | 3229.87 | Privilege tax related to hydro developments.
19 | 241 | Tax Collections Payable | 1001-241310 Elect Revenue-Tax Coll Retail Sales Tax | -10622.47 |  |  | -10622.47 | -10622.47 | Retail related tax.
20 | 241 | Tax Collections Payable | 1001-241801 Elect Revenue-Wfon Tax Coll Ret Sales Tax | 2673.74 |  |  | 2673.74 | 2673.74 | Retail related tax.
21 | 241 | Tax Collections Payable | 4030-241030 Servi Operating-Tax Pay Leasehold Excise | 49814.34 | 49814.34 |  |  | 49814.34
22 | 241 | Tax Collections Payable | 4030-241520 Servi Operating-Tax Pay Use Tax Unincorp | 17926.12 | 17926.12 |  |  | 17926.12
23 | 236 | Taxes Accrued | 7001-236110 PRP Revenue-Accrd Tax Public Utility | 1599.64 | 1599.64 |  |  | 1599.64
24 | 236 | Taxes Accrued | 7001-236120 PRP Revenue-Accrd Tax Privilege | 1945089.56 |  |  | 1945089.56 | 1945089.56 | Privilege tax related to hydro developments.
25 | 236 | Taxes Accrued | 7001-236130 PRP Revenue-Accrd Tax Service Other | 9302.2 | 9302.2 |  |  | 9302.2
26 |  | Total Accrued Taxes | Sum of Lines 1-25 | 7025703.02 | 990419.29 | 0 | 6035283.73 | 7025703.02
Notes
A | Source: | Excel spreadsheet "2017 2016 financials.xlsx".

## Exh VII - Rev Crd
Exhibit VII
Grant County Public Utility District
Revenue Credits
Fiscal Year Ending December 31, 2017
Draft of June 19, 2019
Allocation
Line | FERC |  |  | Total | 100% | 100%
No. | Acct No. | FERC Acct Name | GCPUD Description | Revenue | Transmission | Distribution | Plant | Labor | Other | Total | Comments re: Allocation
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
Sum of (e)-(i)
Other Revenues: (Note A)
1 | 450 | Forfeited Discounts | 1001-450000 Elect Revenue-Penalty For Late Payment | 1074356.34 |  | 1074356.34 |  |  |  | 1074356.34 | Related to retail service.
2 | 451 | Miscellaneous Service Revenues | 1001-451000 Elect Revenue-Misc Service Revenue | 554856.01 |  | 554856.01 |  |  |  | 554856.01 | Related to retail service.
3 | 454 | Rent from Electric Property | 1001-454000 Elect Revenue-Rents Elec Property | 148260 |  | 148260 |  |  |  | 148260 | Related to retail service.
4 | 454 | Rent from Electric Property | 1001-454010 Elect Revenue-Pole Rentals Elec Property | 246651.32 |  | 246651.32 |  |  |  | 246651.32 | Rental income for distribution pole attachments.
5 | 454 | Rent from Electric Property | 1001-456000 Elect Revenue-Other Electric Revenues | 10341.55 |  | 10341.55 |  |  |  | 10341.55 | Related to retail service.
6 |  | Total Other Revenues |  | 2034465.22 | 0 | 2034465.22 | 0 | 0 | 0 | 2034465.22
Wheeling Revenues: (Note B)
7 | 456 | Other Electric Revenues | Puget Sound Energy | 140952 | 140952 |  |  |  |  | 140952 | Facilities with DSO
8 | 456 | Other Electric Revenues | Vantage Energy | 142608 | 142608 |  |  |  |  | 142608 | Facilities with DSO
9 | 456 | Other Electric Revenues | Seattle City Light | 53568 | 53568 |  |  |  |  | 53568 | Exchange/PTP-LTF
10 | 456 | Other Electric Revenues | Tacoma Power | 53568 | 53568 |  |  |  |  | 53568 | Exchange/PTP-LTF
9 |  | Total Wheeling Revenues |  | 390696 | 390696 | 0 | 0 | 0 | 0 | 390696
Notes
A | Source: Excel spreadsheet "2017 2016 financials.xlsx".
B | Source: Excel spreadsheet "Data Submittal for GDS COS 2.2.xlsx".

## Exh VIII - Loads
Exhibit VIII
Grant County Public Utility District
Loads
Fiscal Year Ending December 31, 2017
Draft of June 19, 2019
|  |  | BA Load |  | Loads During BA Peak |  |  |  |  | System Load |  |  |  |  | Adjusted System Load
Line No. | Month |  | Calc'd GCPD_BA_LOAD MMAX | Calc'd GCPD_BA_LOAD MMAX TIME | Schrag | Kittitas | Palisades | USBR Large Loads | USBR Small Loads Estimate | Calc'd GCPD_SYST_LOAD MMAX | Calc'd GCPD_SYST_LOAD MMAX TIME | Total System Load | 115/230 Only Load During Peak | Firm Point to Point Load | Sub 115kV System Load | Total System Load Plus Point to Point | Sub 115kV System Load plus Firm Point to Point
| (a) |  | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) | (n) | (o) | (p) | (q)
[12 empty] | (e)+(f)+(g)+(h)+(i)+(j) |  |  | (l)-(m) | (c)+(l) | (n) + (o)
1 | Jan |  | 790.43 | 13 08 | 1.88 | 1.19 | 2.93 | 2.1188 | 0.49536 | 771.7004 | 13 08 | 780.3146 | 1.1835 |  | 779.131 | 780.3146 | 779.131
2 | Feb |  | 712.82 | 02 08 | 1.7 | 0.97 | 2.7 | 1.0638 | 0.69329 | 695.033 | 07 08 | 702.1601 | 0.1734 |  | 701.9867 | 702.1601 | 701.9867
3 | Mar |  | 605.07 | 07 07 | 1.35 | 0.74 | 2.35 | 9.4641 | 1.0536 | 592.0571 | 07 07 | 607.0148 | 6.9788 |  | 600.036 | 607.0148 | 600.036
4 | Apr |  | 582.79 | 11 07 | 3.04 | 1.18 | 1.69 | 20.2692 | 0.32822 | 584.6448 | 11 07 | 611.1522 | 13.5461 |  | 597.6061 | 611.1522 | 597.6061
5 | May |  | 700.321 | 30 17 | 9.94 | 0.86 | 4.06 | 29.4845 | 2.2067 | 720.6007 | 30 17 | 767.1519 | 20.0168 |  | 747.1351 | 767.1519 | 747.1351
6 | Jun |  | 755.348 | 26 16 | 12.6 | 0.88 | 4.88 | 32.9905 | 1.7401 | 777.9117 | 26 16 | 831.0024 | 22.1422 |  | 808.8601 | 831.0024 | 808.8601
7 | Jul |  | 802.917 | 06 16 | 12.29 | 1.48 | 5.34 | 33.7218 | 2.0568 | 825.8387 | 06 16 | 880.7274 | 23.4362 |  | 857.2912 | 880.7274 | 857.2912
8 | Aug |  | 787.004 | 01 17 | 11.45 | 1.55 | 5.35 | 33.4023 | 1.978 | 810.7996 | 01 17 | 864.5299 | 23.2111 |  | 841.3188 | 864.5299 | 841.3188
9 | Sep |  | 729.998 | 01 17 | 9.84 | 1.3 | 4.94 | 28.7866 | 1.7671 | 751.0659 | 01 17 | 797.6996 | 20.1568 |  | 777.5428 | 797.6996 | 777.5428
10 | Oct |  | 624.563 | 12 07 | 6.33 | 0.94 | 3.01 | 18.5458 | 1.1873 | 628.531 | 12 07 | 658.5441 | 12.7429 |  | 645.8013 | 658.5441 | 645.8013
11 | Nov |  | 642.02 | 07 07 | 1.59 | 1 | 2.05 | 1.1682 | 0.56454 | 629.8892 | 07 07 | 636.2619 | 0.15921 |  | 636.1027 | 636.2619 | 636.1027
12 | Dec |  | 663.89 | 24 09 | 1.75 | 1.13 | 2.71 | 0.99351 | 0.26705 | 647.3681 | 24 09 | 654.2187 | 0.13081 |  | 654.0878 | 654.2187 | 654.0878
13 |  |  | 699.7643 |  | 6.1467 | 1.1017 | 3.5008 | 17.6674 | 1.1948 | 702.9534 |  | 732.5648 | 11.9898 | 0 | 720.575 | 732.5648 | 720.575
Notes
A | Source: | Excel spreadsheet "Data Submittal for GDS COS 2.2.xlsx".
B | Loads reflect NCP billing determinants