## Adjustments
Line No. | Adjustments Made to the Transmission Cost of Service Study (COSS) from the August 12, 2019 COSS | Amounts
$
1 | Plant in Service Adjustments
2 | 1) Adjustment to General Plant Account No. 397 - Communication Equip
3 | to remove plant balances associated with Wholesale Fiber
4 | Communication Equipment
5 | O&M Allocation Factor Change caused by General Plant Adj. | -1628
6 | Transmission Return Impact | -631294
7 | Transmision Depreciation Impact | -812432
8 | Total Cost of Service for this Adjustment | -1445354
9 | 2) Adjustment to Account No. 353 to remove Transformers at PRP
10 | to be recovered in the Generation Function
11 | O&M Allocation Factor Change caused by Transmission Plant Adj. | -19270
12 | Transmission Return Impact | -2009706
13 | Transmision Depreciation Impact | -913807
14 | Total Cost of Service for this Adjustment | -2942783
15 | 3) Adjustment to remove Radial Lines at PRP
16 | to be recovered in the Generation Function
17 | O&M Allocation Factor Change caused by Transmission Plant Adj. | -7105
18 | Transmission Return Impact | -744975
19 | Transmision Depreciation Impact | -573853
20 | Total Cost of Service for this Adjustment | -1325933
21 | 4) Adjustment to remove "QC" and "PEC" Plant Balances
22 | included in Account No. 303 - Intangible Plant from Trans. COSS
23 | O&M Allocation Factor Change caused by Transmission Plant Adj. | -4629
24 | Transmission Return Impact | -481600
25 | Transmision Depreciation Impact | -495896
26 | Total Cost of Service for this Adjustment | -982125
27 | 5) Adjustment to reclassified certain plant from transmission to
28 | generation. Account #s include 302, 303, 390, 391, and 398,
29 | previously these accounts were allocated to generation, transmission,
30 | distribution functions based on the direct labor allocation factors. It
31 | was determined that certain amounts were directly assignable to the
32 | generation functions.
33 | O&M Allocation Factor Change caused by Transmission Plant Adj. | -17656
34 | Transmission Return Impact | -1838491
35 | Transmision Depreciation Impact | -1524926
36 | Total Cost of Service for this Adjustment | -3381073
37 | Taxes - Other Than Income Taxes
38 | Removed all Taxes - Other except Elect Revenue - Taxes Privilege
39 | and Elect Revenue - Taxes Fire District. All other taxes have been
40 | removed from the Transmission Cost per Unit Calculation.
41 | Amount of this adjustment is: | -950859
42 | Operation and Maintenance Expenses
43 | Transmission COSS adjustment for diving costs - transmission only | -71395
($482,278 * 14.80%)
44 | Total Transmission Cost of Service Reduction from August 12, 2019 | -11099522
45 | Total Transmission Cost per Unit Reduction from 8/12/20 COSS $/kW-mo. | -1.25
($3.81-$2.56)
46 | The remaining two Taxes - Other Than Income were converted to a
47 | rate add-on, similar to the 2017 COSA.
48 | 2017 COSA
49 | Transmission Rate Before Tax Gross-up $/kW-mo. | 1.83
50 | Public Utilities Tax Gross-up $/kW-mo. | 0.07
51 | 2017 COSA Wholesale Transmission Rate $/kW-mo. | 1.9
52 | 2019 COSS
53 | Transmission Rate Before Tax Gross-up $/kW-mo. | 2.4117
54 | Public Utilities Tax Gross-up $/kW-mo. | 0.098315
55 | 2017 COSA Wholesale Transmission Rate $/kW-mo. | 2.51

## Cost of Service Factors-Exh. I
Grant County Public Utility District
Development of the Transmission Cost per Unit
Wholesale Cost of Service
Line |  |  |  | Amounts after
No. | Description | Units | Amounts | Tax Gross-up | Source / Comment
| (a) | (b) | (c) | (d) | (e)
115kV - 230kV WHOLESALE COST OF SERVICE
Annual Cost of Service:
1 | Net Transmission Cost of Service | ($) | 21487907.7 |  | Cost of Service-Exh. II tab
2 | Transmission Plant Inclusion Ratio |  | 100%
3 | Net 115kV-230kV Wholesale Cost of Service |  | 21487907.7 |  | Line 1 * Line 2
Load Divisor:
4 | Total System Load Plus Firm Point to Point | MW | 742.4928 | 0 | System Load-Exh. XII tab
115kV - 230kV Wholesale Cost of Service: 1/
5 | Yearly | $/kW-yr | 28.9402 | 30.09 | Line 3 ÷ (Line 4 *1000)
6 | Monthly | $/kW-mo. | 2.4117 | 2.51 | Line 5 ÷ 12 months
7 | Weekly | $/kW-wk. | 0.55654 | 0.58 | Line 5 ÷ 52 weeks
8 | Daily | $/kW-day | 0.079506 | 0.08 | Line 5 ÷ 7 days
9 | Hourly | $/kWh | 0.0033037 | 0.00344 | Line 5 ÷ 8760 hours
13.2kV WHOLESALE COST OF SERVICE
Annual Cost of Service:
10 | Total Distribution Cost of Service | ($) | 54056618.15 |  | Cost of Service-Exh. II tab
11 | Distribution Plant Inclusion Ratio |  | 68.02% |  | Allocation Factors-Exh. III tab
12 | 13.2kV Wholesale Cost of Service |  | 36767172.9563 |  | Line 10 * Line 11
Load Divisor:
13 | 13.2kV System Load | MW | 730.5621
13.2kV Wholesale Cost of Service 1/
14 | Yearly | $/kW-yr | 50.3272 | 52.33 | Line 12 ÷ (Line 13 *1000)
15 | Monthly | $/kW-mo. | 4.1939 | 4.36 | Line 14 ÷ 12 months
16 | Weekly | $/kW-wk. | 0.96783 | 1.01 | Line 14 ÷ 52 weeks
17 | Daily | $/kW-day | 0.13826 | 0.14 | Line 14 ÷ 7 days
18 | Hourly | $/kWh | 0.0057451 | 0.01 | Line 14 ÷ 8,760 hours
1/ | Taxes-Other Than Income Taxes are calculated as a percentage of revenue collected
for the 2019 COSS. The taxes include the Public Utility Tax and the Fire Protection
District Tax. For study purposes these taxes are stated as a percentage and have been
added to the calculated Cost of Service Factors to determine the total Factor.
The total tax gross factor is 3.984%, see Taxes-Other-Exh. IX tab.

## Point-to-Point Rate - Exh. I-1
Grant County Public Utility District
Development of the Transmission Point-to-Point Cost per Unit
Wholesale Cost of Service
Line |  |  |  | Amounts after
No. | Description | Units | Amounts | Tax Gross-up | Source / Comment
| (a) | (b) | (c) | (d) | (e)
115kV - 230kV WHOLESALE COST OF SERVICE
Annual Cost of Service:
1 | Net Transmission Cost of Service | ($) | 21487907.7 |  | Cost of Service-Exh. II tab
2 | Transmission Plant Inclusion Ratio |  | 100%
3 | Net 115kV-230kV Wholesale Cost of Service |  | 21487907.7 |  | Line 1 * Line 2
Load Divisor:
4 | Total Billing Units Including Firm Point-to-Point | MW | 742.4928 | 0 | System Load-Exh. XII tab
115kV - 230kV Wholesale Cost of Service: 1/
5 | Monthly | $/kW-mo. | 2.4117 | 2.51 | Line 3 ÷ (Line 4 *1000) ÷ 12
6 | Daily | $/kW-day | 0.079506 | 0.08 | Line 3 ÷ (Line 4 *1000) ÷ (52*7)
7 | Hourly | $/kWh | 0.0033037 | 0.00344 | Line 3 ÷ (Line 4 *1000) ÷ 8760
13.2kV WHOLESALE COST OF SERVICE
Annual Cost of Service:
8 | Total Distribution Cost of Service | ($) | 54056618.15 |  | Cost of Service-Exh. II tab
9 | Distribution Plant Inclusion Ratio |  | 68.02% |  | Allocation Factors-Exh. III tab
10 | 13.2kV Wholesale Cost of Service |  | 36767172.9563 |  | Line * Line 8
Load Divisor:
11 | 13.2kV System Load | MW | 730.5621
13.2kV Wholesale Cost of Service 1/
12 | Monthly | $/kW-mo. | 4.1939 | 4.36 | Line 9 ÷ (Line 11 *1000) ÷ 12
13 | Daily | $/kW-day | 0.13826 | 0.14 | Line 9 ÷ (Line 11 *1000) ÷ (52*7)
14 | Hourly | $/kWh | 0.0057451 | 0.01 | Line 9 ÷ (Line 11 *1000) ÷ 8760
1/
Taxes-Other Than Income Taxes are calculated as a percentage of revenue collected
for the 2019 COSS. The taxes include the Public Utility Tax and the Fire Protection
District Tax. For study purposes these taxes are stated as a percentage and have been
added to the calculated Cost of Service Factors to determine the total Factor.
The total tax gross factor is 3.984%, see Taxes-Other-Exh. IX tab.

## PTP Rate On Off Peak - Exhx.I-2
Grant County Public Utility District
Development of the Transmission Point-to-Point Cost per Unit
Wholesale Cost of Service
Line |  |  |  | Amounts after
No. | Description | Units | Amounts | Tax Gross-up | Source / Comment
| (a) | (b) | (c) | (d) | (e)
115kV - 230kV WHOLESALE COST OF SERVICE
Annual Cost of Service:
1 | Net Transmission Cost of Service | ($) | 21487907.7 |  | Cost of Service-Exh. II tab
2 | Transmission Plant Inclusion Ratio |  | 100%
3 | Net 115kV-230kV Wholesale Cost of Service |  | 21487907.7 |  | Line 1 * Line 2
Load Divisor:
4 | Total Billing Units Including Firm Point-to-Point | MW | 742.4928 | 0 | System Load-Exh. XII tab
115kV - 230kV Wholesale Cost of Service: 1/
5 | Weekly | $/kW-Wk | 0.55654 | 0.58 | Line 3 ÷ (Line 4 *1000) ÷ 52
Daily Rates:
6 | On-Peak Days | $/kW-day | 0.11131 | 0.12 | Line 5 ÷ 5 days
7 | Off-Peak Days | $/kW-day | 0.079506 | 0.08267 | Line 5 ÷ 7 days
Hourly Rates:
8 | On-Peak Hours | $/kWh | 0.0069568 | 0.00723 | Line 6 ÷ 16 hours
9 | Off-Peak Hours | $/kWh | 0.0033128 | 0.00344 | Line 7 ÷ 24 hours
13.2kV WHOLESALE COST OF SERVICE
Annual Cost of Service:
10 | Total Distribution Cost of Service | ($) | 54056618.15 |  | Cost of Service-Exh. II tab
11 | Distribution Plant Inclusion Ratio |  | 68.02% |  | Allocation Factors-Exh. III tab
12 | 13.2kV Wholesale Cost of Service |  | 36767172.9563 |  | Line 10 * Line 11
Load Divisor:
13 | 13.2kV System Load | MW | 730.5621
13.2kV Wholesale Cost of Service 1/
14 | Weekly | $/kW-Wk | 0.96783 | 1.01 | Line 12 ÷ (Line 13 *1000) ÷ 52
Daily Rates:
15 | On-Peak Days | $/kW-day | 0.19357 | 0.2 | Line 14 ÷ 5 days
16 | Off-Peak Days | $/kW-day | 0.13826 | 0.14377 | Line 14 ÷ 7 days
Hourly Rates:
17 | On-Peak Hours | $/kWh | 0.012098 | 0.01258 | Line 15 ÷ 16 hours
18 | Off-Peak Hours | $/kWh | 0.0057609 | 0.00599 | Line 16 ÷ 24 hours
1/ | Taxes-Other Than Income Taxes are calculated as a percentage of revenue collected
for the 2019 COSS. The taxes include the Public Utility Tax and the Fire Protection
District Tax. For study purposes these taxes are stated as a percentage and have been
added to the calculated Cost of Service Factors to determine the total Factor.
The total tax gross factor is 3.984%, see Taxes-Other-Exh. IX tab.

## Cost of Service-Exh. II
Grant County Public Utility District
Development of Transmission Cost of Service
Transmission/Wholesale
Line |  | Total Cost | Transmission | Distribution
No. | Description | of Service | Cost of Service | Cost of Service
|  | (1) | -2 | -3
|  | $ | $ | $
Operation and Maintenance Expense
1 | Transmission (net of Acct. 565) | 6097745.7 | 6097745.7
2 | Distribution | 13561222.21 | 0 | 13561222.21
3 | Administrative and General (net of Acct. 924) 2/ | 30538164.17 | 4520798 | 6921123
4 | Administrative and General (Acct. 924) 4/ | 1076543.73 | 67499 | 189795
5 | Total Operational and Maintenance Expense | 51273675.81 | 10686042.7 | 20672140.21
Depreciation Expense
6 | Transmission 1/ | 4379064 | 4379064 |  | Original Intangible Plant Allocation Factor
7 | General 1/ 2/ | 5311826 | 786350 | 1203864
8 | Intangible | 8849329 | 136300 | 208669 | Intangible Amortization | 8849329
9 | Distribution | 19942592 | 0 | 19942592 | Intangible Plant | 198567970.26
10 | Total Depreciation | 38482811 | 5301714 | 21355125 | Percentage | 4.46% | 136300 | 208669
Taxes - Other Than Income
11 | Plant Related | 0 | 0 | 0
12 | Labor Related | 0 | 0 | 0
13 | Other Related | 0 | 0 | 0
14 | Total Taxes-Other Than Income | 0 | 0 | 0
15 | Return | 92518181 | 5915147 | 16412850
Revenue Credits
16 | Production | 0 | 0 | 0
17 | Transmission | -414996 | -414996 | 0
18 | Distribution | -4383497.06 | 0 | -4383497.06
19 | Total Revenue Credits | -4798493.06 | -414996 | -4383497.06
20 | Total Cost of Service | 177476174.75 | 21487907.7 | 54056618.15
|  | General | Transmission
| 1/ Total Depreciation Expense Before Adjs. | 16521951 | 5866724
| Amount After Adjustments | 5311826 | 4379064
2/ | WAGES & SALARY ALLOCATOR (W&S) - See Allocation Factor-Exh. III tab, Lines 15-20.
($ / Allocation)
| Production - Allocation Factors-Exh. III, Ln 15 | 51.3%
| Transmission - Allocation Factor-Exh. III, Ln 16 | 14.8% | (WST)
| Distribution - Allocation Factor-Exh. III, Ln 17 | 22.66% | (WSD)
| Other - Non General - Allocation Factor-Exh. III, Ln 18 | 11.23% |  | (Hydro-Product
| Total | 100% | 62.53% | + Other)
See Allocation Factors-Exh. III Tab.
3/ | Gross Plant In Service (GPIS)-Allocation Factor | 2848134078.64
| Production - see GPIS-Exh. V, Col. E, LN. 71 |  | 1976969748.37 | 69.41%
| Transmission - see GPIS-Exh. V, Col. F, LN. 71 |  | 217789393.67 | 7.65%
| Distribution - see GPIS-Exh. V, Col. G, LN. 71 |  | 653374934.02 | 22.94%
| Total |  | 2848134076.06 | 100%
See Gross Plant in Service-Exh. V Tab for plant balances
4/ | Net Plant In Service (NPIS) - NPIS and Rate Base-Exh. VII | 1862151546.68
| Production - see NPIS and Rate Base-Exh.VII, Col. E, LN. 52 |  | 1417124045.33 | 76.1%
| Transmission - see NPIS and Rate Base-Exh. VII, Col. F, LN. 52 |  | 116708213.13 | 6.27%
| Distribution - see NPIS and Rate Base-Exh. VII, Col. G, LN.52 |  | 328319288.81 | 17.63%
| Total |  | 1862151547.27 | 100%
See NPIS and Rate Base-Exh. VII Tab for plant balances

## Allocation Factors-Exh. III
Grant County Public Utility District
Development of Allocation Factors
Line |  |  |  | Total | Allocator
No. |  | Source/Reference |  | Electric | Type |  | %
| (a) | (b) |  | (c) | (d) |  | (e)
TRANSMISSION PLANT INCLUDED IN COST OF SERVICE:
1 | Total Transmission Gross Plant | See Gross Plant in Service-Exh. V tab, Col. F, Ln 26 |  |  |  |  | 188867007.67
2 | Less Distribution Plant Included in Transmission Accounts | Note A |  |  |  |  | 0
3 | Less Transmission Plant Included in Ancillary Services | Note B |  |  |  |  | 0
4 | Transmission Plant Included in Cost of Service | Line 1 - Line 2 - Line 3 |  |  |  |  | 188867007.67
5 | Transmission Plant Inclusion Ratio | Line 1 / Line 4 |  |  | TPI= |  | 100%
WHOLESALE GROSS DISTRIBUTION PLANT:
6 | Accounts 360-364 | See Gross Plant in Service-Exh. V tab, Col. G, Lns 27-30 |  |  |  |  | 270259292.02
7 | Accounts 360-364 plus Accounts 368-373 | See Gross Plant in Service-Exh. V tab, Col. G, Lns 27-30 + Lns 34-37 |  |  |  |  | 397346387.43
8 | Wholesale Gross Distribution Plant Allocator | Line 6 / Line 7 |  |  | WSDP= |  | 68.02%
DISTRIBUTION PLANT INCLUDED IN COST OF SERVICE:
9 | Total Distribution Gross Plant | See Gross Plant in Service-Exh. V tab, Col. G, Ln 38 |  |  |  |  | 609096159.02
10 | Plus Distributuion Plant Included in Transmission Accounts | Note A |  |  |  |  | 0
11 | Less Distribution Plant Included in Ancillary Services | Note B |  |  |  |  | 0
12 | Total Distribution Plant Included in Cost of Service | Line 1 - Line 2 - Line 3 |  |  |  |  | 609096159.02
13 | Percentage of Gross Distribution Plant Included in Cost of Service | Line 9 / Line 12 |  |  | DP= |  | 100%
14 | Distribution Plant Inclusion Ratio | Line 8 * Line 13 |  |  | DPI= |  | 68.02%
| WAGES & SALARY ALLOCATOR (W&S): | $ | Allocator |  | T/D Allocation |  | ($ / Allocation)
15 | Production | 21922194.55 | NA | 100% | 21922194.55 |  | 51.3%
16 | Transmission | 6325809.23 | NA | 100% | 6325809.23 | WST = | 14.8%
17 | Distribution | 9684507.81 | NA | 100% | 9684507.81 | WSD = | 22.66%
18 | Other - Non General | 4798573.7 | NA | 100% | 4798573.7 |  | 11.23%
19 | Total Sum of Lines 15 - 18 | 42731085.29 |  |  | 42731085.29 |  | 100%
20 | Hydro-Production and Other Allocation Factor - Line 15 + Line 18 | [5 empty] | 62.53%
Notes
A | Removes transmission plant determined to be state-jurisdictional by FERC order according to the seven-factor test (e.g., radial facilities), until
balances on Grant PUD's books are adjusted to reflect the removal of such costs from the transmission function.
B | Removes dollar amount of plant included in the development of ancillary services cost of service analysis (e.g., generation step-up facilities)

## O&M Expenses-Exh. IV
Grant County Public Utility District
Operations & Maintenance Expenses and Administrative & General Expenses
Transmission - Wholesale
Line | FERC |  |  | Total |  | Adjusted | Hydro-
No | Acct No | FERC Acct Name |  | Expenses | Adjustments | Expenses | Production | Transmission | Distribution | Comments re: Adjustments
| (a) | (b) |  | (c) | (d) | (e) | (f) | (g) | (h) | (f)
1/
Hydraulic Power Generation O&M Expenses
1 | 535 | Operation supervision and engineering |  | 4219243.73 | 0 | 4219243.73 | 4219243.73 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
2 | 536 | Water for power |  | 3361162.02 | 0 | 3361162.02 | 3361162.02 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
3 | 537 | Hydraulic O&M Expensess (Major only) |  | 1776763.64 | 0 | 1776763.64 | 1776763.64 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
4 | 538 | Electric O&M Expensess (Major only) |  | 53138.58 | 0 | 53138.58 | 53138.58 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
5 | 539 | Miscellaneous hydraulic power generation O&M Expensess (Major only) |  | 6618470.46 | -2605567.95 | 4012902.51 | 4012902.51 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
6 | 540 | Rents |  | 127623.79 | 0 | 127623.79 | 127623.79 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
7 | 540.1 | Operation supplies and O&M Expensess (Nonmajor only) |  | 0 | 0 | 0 | 0 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
8 | 541 | Maintenance supervision and engineering (Major only) |  | 3297121.73 | 0 | 3297121.73 | 3297121.73 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
9 | 542 | Maintenance of structures (Major only) |  | 78603.89 | 0 | 78603.89 | 78603.89 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
10 | 543 | Maintenance of reservoirs, dams and waterways (Major only) |  | 2177603.49 | 0 | 2177603.49 | 2177603.49 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
11 | 544 | Maintenance of electric plant (Major only) |  | 8778425.87 | 0 | 8778425.87 | 8778425.87 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
12 | 545 | Maintenance of miscellaneous hydraulic plant (Major only) |  | 19393909.28 | -16204119.65 | 3189789.63 | 3189789.63 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
13 | 545.1 | Maintenance of hydraulic production plant (Nonmajor only) |  | 0 | 0 | 0 | 0 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
|  | Adjustment for Diving Expenses included in Acct. 935 |  | 0 | 482278.65 | 482278.65 | 482278.65 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
14 |  | Total Hydraulic Power Generation O&M Expenses |  | 49882066.48 | -18327408.95 | 31554657.53 | 31554657.53 | 0 | 0
Transmission O&M Expenses:
15 | 560 | Operation Supervision and Engineering |  | 93446.94 | 0 | 93446.94 | 0 | 93446.94 | 0
16 | 561 | Load Dispatching |  | 5094973.87 | 0 | 5094973.87 | 0 | 5094973.87 | 0
17 | 562 | Station Expenses |  | 0 | 0 | 0 | 0 | 0 | 0
18 | 563 | Overhead Lines Expenses |  | 0 | 0 | 0 | 0 | 0 | 0
19 | 564 | Underground line expenses |  | 0 | 0 | 0 | 0 | 0 | 0
20 | 565 | Transmission of Electricity by Others |  | 581439.11 | -581439 | 0.11 | 0 | 0.11 | 0 | Not Included in Wholesale Delivery Cost of Service
21 | 566 | Miscellaneous Transmission Expenses |  | 177897.02 | 0 | 177897.02 | 0 | 177897.02 | 0
22 | 567 | Rents |  | 0 | 0 | 0 | 0 | 0 | 0
23 | 568 | Maintenance supervision and engineering |  | 28407.82 | 0 | 28407.82 | 0 | 28407.82 | 0
24 | 569 | Maintenance of Stuctures/Computer |  | 0 | 0 | 0 | 0 | 0 | 0
25 | 570 | Maintenance of Station Equipment |  | 520435.13 | 0 | 520435.13 | 0 | 520435.13 | 0
26 | 571 | Maintenance of Overhead Lines |  | 182584.81 | 0 | 182584.81 | 0 | 182584.81 | 0
27 | 572 | Maintenance of Underground Lines |  | 0 | 0 | 0 | 0 | 0 | 0
28 | 573 | Maintenance of Miscellaneous Transmission Plant |  | 0 | 0 | 0 | 0 | 0 | 0
29 | 574 | Maintenance of Transmision Plant (Non-Major) |  | 0 | 0 | 0 | 0 | 0 | 0
30 |  | Total Transmission O&M Expenses |  | 6679184.7 | -581439 | 6097745.7 | 0 | 6097745.7 | 0
Distribution O&M Expenses:
31 | 580 | Operation supervision and engineering |  | 140617.36 | 0 | 140617.36 | 0 | 0 | 140617.36
32 | 581 | Load dispatching |  | 1089.09 | 0 | 1089.09 | 0 | 0 | 1089.09
33 | 582 | Station expenses |  | 235741.51 | 0 | 235741.51 | 0 | 0 | 235741.51
34 | 583 | Overhead line expenses |  | 13423.94 | 0 | 13423.94 | 0 | 0 | 13423.94
35 | 584 | Underground line expenses |  | 12094.97 | 0 | 12094.97 | 0 | 0 | 12094.97
36 | 586 | Meter expenses |  | 0 | 0 | 0 | 0 | 0 | 0
37 | 587 | Customer installations expenses |  | 485547.4 | 0 | 485547.4 | 0 | 0 | 485547.4
38 | 588 | Miscellaneous distribution expenses |  | 5275842.23 | 0 | 5275842.23 | 0 | 0 | 5275842.23
39 | 590 | Maintenance supervision and engineering |  | 397709.2 | 0 | 397709.2 | 0 | 0 | 397709.2
40 | 592 | Maintenance of station equipment |  | 1526913.77 | 0 | 1526913.77 | 0 | 0 | 1526913.77
41 | 593 | Maintenance of overhead lines |  | 3108276.64 | 0 | 3108276.64 | 0 | 0 | 3108276.64
42 | 594 | Maintenance of underground lines |  | 2086933.06 | 0 | 2086933.06 | 0 | 0 | 2086933.06
43 | 596 | Maintenance of street lighting and signal systems |  | 146247.14 | 0 | 146247.14 | 0 | 0 | 146247.14
44 | 597 | Maintenance of meters |  | 130785.9 | 0 | 130785.9 | 0 | 0 | 130785.9
45 |  | Total Distribution O&M Expenses |  | 13561222.21 | 0 | 13561222.21 | 0 | 0 | 13561222.21
Customer Accounts Expense
46 | 901 | Supervision (Major only) |  | 565041.69 | 0 | 565041.69 | 0 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
47 | 902 | Meter reading expenses |  | 829122.75 | 0 | 829122.75 | 0 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
48 | 903 | Customer records and collection expenses |  | 2411399.01 | 0 | 2411399.01 | 0 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
49 | 904 | Uncollectible accounts |  | 122513.88 | 0 | 122513.88 | 0 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
50 | 905 | Miscellaneous customer accounts expenses (Major only) |  | 0 | 0 | 0 | 0 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
51 |  | Total Customer Accounts Expense |  | 3928077.33 | 0 | 3928077.33 | 0 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
Customer Service and Information System Expense
52 | 906 | Customer service and informational expenses (Nonmajor only) |  | 1282173.01 | 0 | 1282173.01 | 0 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
53 | 907 | Supervision (Major only) |  | 0 | 0 | 0 | 0 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
54 | 908 | Customer assistance expenses (Major only) |  | 554390.08 | 0 | 554390.08 | 0 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
55 | 909 | Informational and instructional advertising expenses (Major only) |  | 0 | 0 | 0 | 0 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
56 | 910 | Miscellaneous customer service and informational expenses (Major only) |  | 1470.05 | 0 | 1470.05 | 0 | 0 | 0 | Not Included in Wholesale Delivery Cost of Service
57 |  | Total Customer Service and Information System Expense |  | 1838033.14 | 0 | 1838033.14 | 0 | 0 | 0
Licensing Compliance and Related Agreements
58 | 539.R1 | Miscellaneous hydraulic power generation O&M Expensess (Major only) |  | 0 | 2605567.95 | 2605567.95 | 0 | 0 | 0 | Reclass from Acct. 539; Not Included in Wholesale Cost of Service Template
59 | 545.R1 | Maintenance of miscellaneous hydraulic plant (Major only) |  | 0 | 16204119.65 | 16204119.65 | 0 | 0 | 0 | Reclass from Acct. 545; Not Included in Wholesale Cost of Service Template
60 | 928.R1 | Regulatory commission expenses |  | 0 | 1135678.06 | 1135678.06 | 0 | 0 | 0 | Reclass Yakama Settlement Expense from Acct. 928; Not Included in Wholesale COS
61 |  | Total Licensing Compliance and Related Agreements |  | 0 | 19945365.66 | 19945365.66 | 0 | 0 | 0
Fiber Optic Network O&M
62 | 935.R1 | Maintenance of general plant |  | 0 | 1733337.83 | 1733337.83 | 0 | 0 | 0 | Reclass from Acct. 935; Not Included in Wholesale Cost of Service Template
63 | 930.2R1 |  |  | 0 | 531855.42 | 531855.42 | 0 | 0 | 0 | Reclass from Acct 930.2; Not Included in Wholesale Cost of Service Template
64 |  | Total Sales Expense |  | 0 | 2265193.25 | 2265193.25 | 0 | 0 | 0
Administrative & General Expenses
65 | 920 | Administrative and general salaries | 2/ | 1756282.66 | 0 | 1756282.66 | 1098245 | 259996 | 398041
66 | 921 | Office supplies and expenses | 2/ | 20884610.59 | 0 | 20884610.59 | 13059646 | 3091709 | 4733256
67 | 922 | Administrative expenses transferred—Credit |  | 0 | 0 | 0 | 0 | 0 | 0
68 | 923 | Outside services employed | 2/ | 2009100.71 | 0 | 2009100.71 | 1256339 | 297423 | 455340
69 | 924 | Property insurance-Allocated on Net Plant in Service | 3/ | 1076543.73 | 0 | 1076543.73 | 819250 | 67499 | 189795
70 | 925 | Injuries and damages | 2/ | 3823007.95 | 0 | 3823007.95 | 2390618 | 565949 | 866441
71 | 926 | Employee pensions and benefits | 2/ | -5815610.67 | 0 | -5815610.67 | -3636640 | -860929 | -1318041
72 | 927 | Franchise requirements |  | 0 | 0 | 0 | 0 | 0 | 0
73 | 928 | Regulatory commission expenses | 2/ | 2961405.73 | -1135678.06 | 1825727.67 | 1141671 | 270276 | 413780 | Reclass Yakama Settlement Exp to Licensing and Agreements
74 | 929 | Duplicate charges—Credit | 2/ | -6370151.19 | 0 | -6370151.19 | -3983408 | -943022 | -1443721
75 | 930.1 | General advertising expenses | 2/ | 1285999.49 | -1285999.49 | 0 | 0 | 0 | 0 | Exclude General Advertising
76 | 930.2 | Miscellaneous general expenses | 2/ | 3453623.47 | -531855.42 | 2921768.05 | 1827051 | 432532 | 662185 | Fiber Optic Expense Included in Acct 930
77 | 931 | Rents |  | 198972.71 | 0 | 198972.71 | 124422 | 29455 | 45095
78 | 933 | Transportation expenses (Nonmajor only) |  | 0 | 0 | 0 | 0 | 0 | 0
79 | 935 | Maintenance of general plant | 2/ | 11520071.52 | -2215615.83 | 9304455.69 | 5818298 | 1377410 | 2108748 | Remove Fiber Optic Expense and Diving Expenses included in Acct. 935
80 |  | Total A&G Expenses |  | 36783856.7 | -5169148.8 | 31614707.9 | 19915492 | 4588298 | 7110919
81 |  | Total Operation & Maintenance Expenses |  | 112672440.56 | -1867437.84 | 110805002.72 | 51470149.53 | 10686043.7 | 20672141.21
| 1/ | Adjustments to be identified in column (f) | [5 empty] | 3649128
871671
| 2/ | WAGES & SALARY ALLOCATOR (W&S) - See Allocation Factor-Exh. III tab, Lines 15-20. | [5 empty] | 4520799
($ / Allocation)
|  | Production |  | 51.3%
|  | Transmission -- WST |  | 14.8%
|  | Distribution -- WSD |  | 22.66%
|  | Other - Non General |  | 11.23% | 62.53%
|  | Total |  | 100%
1862151546.68
| 3/ | Net Plant In Service (NPIS) - NPIS and Rate Base-Exh. VII |  |  | 1417124045.33 | 76.1%
|  | Production - see NPIS and Rate Base-Exh.VII, Col. E, LN. 52 |  |  | 116708213.13 | 6.27%
|  | Transmission - see NPIS and Rate Base-Exh. VII, Col. F, LN. 52 |  |  | 328319288.81 | 17.63%
|  | Distribution - see NPIS and Rate Base-Exh. VII, Col. G, LN.52 |  |  | 1862151547.27 | 100%
Total
See NPIS and Rate Base-Exh. VII Tab for plant balances

## Gross Plant In Service-Exh. V
Grant County Public Utility District
Gross Plant In Service
Line | Account |  |  | Total Plant | Hydro -
No. | Number | Description |  | In Service | Production | Transmission | Distribution
|  |  |  | (1) | (2) | (3) | (4)
|  |  |  | $ | $ | $ | $
Intangible Plant
1 | 301 | Organization | 1/ | 30373 | 18993 | 4496 | 6884
2 | 302 | Franchises and consents | 1/ | 56112071.23
3 | 302 | Assignable Directly to Generation |  | 56108707 | 56108707
4 | 302 | Net 302 Allocated to all functions |  | 3364.23 | 2104 | 498 | 762
5 | 303 | Miscellaneous intangible plant | 1/ | 142425526.03
6 | 303 | Adjustment for OC&PEC Plant to Hydro |  | 35034370 | 35034370 |  | 0
7 | 303 | Adjustment for Hatchery Intangible Plant |  | 29633996 | 29633996
8 | 303 | FERC Relicensing Costs |  | 57147122 | 57147122
9 | 303 | Net 303 Allocated to all functions |  | 20610038.03 | 12887949 | 3051061 | 4671027
10 |  | Subtotal Intangible Plant |  | 198567970.26 | 190833241 | 3056055 | 4678673
Hydro Production
11 | 330 | Land and Land Rights |  | 19685660.3 | 19685660.3
12 | 331 | Structures and improvements |  | 144112917.75 | 144112917.75
13 | 332 | Reservoirs, dams, and waterways |  | 511074820.59 | 511074820.59
14 | 333 | Water sheels, turbines and generators |  | 625533456.68 | 625533456.68
15 | 334 | Accessory electric equipment |  | 59024861.2 | 59024861.2
16 | 335 | Miscellaneous power plant equipment |  | 63234736.3 | 63234736.3
17 | 336 | Roads, railroads and bridges |  | 1792667.77 | 1792667.77
18 |  | Adjustment for PRP Transformer Plant to Hydro |  | 39412060 | 39412060
19 |  | Adjustment for PRP Radial Lines to Hydro |  | 24750000 | 24750000
20 |  | Adj. to Remove Generation Function Plant |  | 165312998 | 165312998
21 |  | Adj. to Office Furniture and Equipment |  | 19155739 | 19155739
22 |  | Adj. to Misc. Equipment |  | 3755299 | 3755299
23 |  | Subtotal Hydro Production Plant |  | 1676845216.59 | 1676845216.59
Other Production (Wind)
24 | 346 | Miscellaneous power plant equipment |  | 29655.78 | 29655.78
25 |  | Subtotal Production Plant |  | 29655.78 | 29655.78
Transmission Plant
26 | 350 | Land and Land Rights |  | 2002732.05 |  | 2002732.05
27 | 352 | Structures and improvements |  | 5906796.43 |  | 5906796.43
28 | 353 | Station Equipment |  | 87642273.1 |  | 87642273.1
29 | 354 | Towers and fixtures |  | 9747602.05 |  | 9747602.05
30 | 355 | Poles and fixtures |  | 87273369.44 |  | 87273369.44
31 | 356 | Overhead conductors and devices |  | 60374024.9 |  | 60374024.9
32 | 359 | Roads and trails |  | 82269.7 |  | 82269.7
24 |  | Adjustment for PRP Transformer Plant to Hydro |  | -39412060 |  | -39412060
25 |  | Adjustment for PRP Radial Lines to Hydro |  | -24750000 |  | -24750000
33 |  | Subtotal Transmission Plant |  | 188867007.67 |  | 188867007.67
Distribution Plant
34 | 360 | Land and Land Rights |  | 853208.64 |  |  | 853208.64
35 | 361 | Structures and improvements |  | 1052383.63 |  |  | 1052383.63
36 | 362 | Station equipment |  | 176101529.24 |  |  | 176101529.24
37 | 364 | Poles, towers and fixtures |  | 92252170.51 |  |  | 92252170.51
38 | 365 | Overhead conductors and devices |  | 92966520.58 |  |  | 92966520.58
39 | 366 | Underground conduit |  | 22305266.89 |  |  | 22305266.89
40 | 367 | Underground conductors and devices |  | 96477984.12 |  |  | 96477984.12
41 | 368 | Line Transformers |  | 75150171.01 |  |  | 75150171.01
42 | 369 | Services |  | 21339100.9 |  |  | 21339100.9
43 | 370 | Meters |  | 23489723.06 |  |  | 23489723.06
44 | 373 | Street lighting and signal systems |  | 7108100.44 |  |  | 7108100.44
45 |  | Subtotal Distribution Plant |  | 609096159.02 |  |  | 609096159.02
General Plant
46 | 389 | Land and Land Rights | 1/ | 2377715.5 | 1486842 | 351991 | 538882
47 | 390 | Structures and improvements | 1/ | 220763261.13 | 138048540 | 32681273 | 50033448
48 | 391 | Office furniture and equipment | 1/ | 43672057.1 | 27309180 | 6465108 | 9897768
49 | 392 | Transportation equipment | 1/ | 22411805.04 | 14014637 | 3317791 | 5079377
50 | 393 | Stores equipment | 1/ | 210943.86 | 131908 | 31228 | 47808
51 | 394 | Tools, shop and garage equipment |  | 9052840.87 | 5660958 | 1340161 | 2051722
52 | 395 | Laboratory equipment | 1/ | 493371.12 | 308517 | 73037 | 111817
53 | 396 | Power operatied equipment | 1/ | 368133.91 | 230203 | 54498 | 83433
54 | 397 | Communication equipment | 1/ | 238587872.37 | 149194695 | 35319987 | 54073190
55 | 398 | Miscellanious equipment | 1/ | 5537724.42 | 3462871 | 819792 | 1255061
56 | 397 | Adj. to Remove Fiber Plant Costs |  | -180523620 | -112885731 | -26724292 | -40913597
57 | 390 | Adj. to Remove Generation Function Plant |  | -165312998 | -103374166 | -24472547 | -37466285
58 | 391 | Adj. to Office Furniture and Equipment |  | -19155739 | -11978541 | -2835770 | -4341427
59 | 398 | Adj. to Misc. Equipment |  | -3755299 | -2348278 | -555926 | -851095
60 |  | Subtotal General Plant | 2/ | 174728069.32 | 109261635 | 25866331 | 39600102
61 |  | Total Plant |  | 2848134078.64 | 1976969748.37 | 217789393.67 | 653374934.02 | 2848134076.06 | -2.58
[5 empty] | 69.41% | 7.65% | 22.94%
| 1/ | WAGES & SALARY ALLOCATOR (W&S) - See Allocation Factor-Exh. III tab, Lines 15-20. |  |  |  | ($ / Allocation)
|  | Production |  |  |  | 51.3%
|  | Transmission -- WST |  |  |  | 14.8%
|  | Distribution -- WSD |  |  |  | 22.66%
|  | Other - Non General |  |  |  | 11.23% | 62.53%
|  | Total |  |  |  | 100%
|  |  |  | General | Intangible | Transmission
| 2/ Total Gross Plant before Adjustments |  |  | 543475725.32 | 254680041.49 | 253029067.67

## Accumulated Reserves-Exh. VI
Grant County Public Utility District
Accumulated Reserves for Depreciation | [9 empty] | GPIS |  | 24600660
[9 empty] | 302 Generation | 56108707 | 99.99% | 24599185
Line | Account |  |  | Accumulated | Hydro - |  |  |  | 302 Generation | 2104 | 0.00375% | 923
No. | Number | Description |  | Reserves | Production | Transmission | Distribution |  | 302 Transmission | 498 | 0.000888% | 218
|  |  |  | (1) | (2) | (3) | (4) |  | 302 Distribution | 762 | 0.001358% | 334
|  |  |  | $ | $ | $ | $
[9 empty] | Total GPIS | 56112071 | 100% | 24600660
Intangible Acc. Reserves
1 | 301 | Organization |  | 0 | 0 | 0 | 0
2 | 302 | Franchises and consents |  | 24600660.42
3 |  | Assignable Directly to Generation |  | 24599185 | 24599185 | 0 | 0
4 |  | Net 302 Allocated to all functions |  | 1475.42 | 923 | 218 | 334 |  |  | GPIS |  | 25459236.32
5 | 303 | Miscellaneous intangible plant |  | 52493606.32 |  |  |  |  | 303 Generation | 29633996 | 27.59% | 7025336
6 |  | Adjustment for OC&PEC Plant to Hydro |  | 27034370 | 27034370 | 0 | 0 |  | 303 Generation | 57147122 | 53.21% | 13547876
7 |  | Adjustment for Hatchery Intangible Plant |  | 7025336 | 7025336 | 0 | 0 |  | 303 Generation | 12887949 | 12% | 3055348
8 |  | FERC Relicensing Costs |  | 13547876 | 13547876 | 0 | 0 |  | 303 Transmission | 3051061 | 2.841% | 723315
9 |  | Net 303 Allocated to all functions |  | 4886024 | 3055348 | 723315 | 1107361 |  | 303 Distribution | 4671027 | 4.35% | 1107361
10 |  | Subtotal Intangible Acc. Reserves |  | 77094266.74 | 75263038 | 723533 | 1107695 | 77094266
[9 empty] | Total GPIS | 107391155 | 100% | 25459236
Hydro Production
11 | 330 | Land and Land Rights |  | 0 | 0
12 | 331 | Structures and improvements |  | 24852507.61 | 24852507.61
13 | 332 | Reservoirs, dams, and waterways |  | 115100840.02 | 115100840.02
14 | 333 | Water sheels, turbines and generators |  | 166883997.13 | 166883997.13
15 | 334 | Accessory electric equipment |  | 27726895.4 | 27726895.4
16 | 335 | Miscellaneous power plant equipment |  | 32362643.52 | 32362643.52
17 | 336 | Roads, railroads and bridges |  | 1047412.3 | 1047412.3
18 |  | Adjustment for PRP Transformer Plant to Hydro |  | 6028246 | 6028246
19 |  | Adjustment for PRP Radial Lines to Hydro |  | 12375000 | 12375000
20 |  | Adj. to Remove Generation Function Plant |  | 11881870 | 11881870
21 |  | Adj. to Office Furniture and Equipment |  | 18976641 | 18976641
22 |  | Adj. to Misc. Equipment |  | 2745566 | 2745566
23 |  | Subtotal Hydro Production Acc. Reserves |  | 419981618.98 | 419981618.98
Other Production (Wind)
24 | 346 | Miscellaneous power plant equipment |  | 20759.06 | 20759.06
25 |  | Subtotal Production Acc. Reserves |  | 20759.06 | 20759.06
Transmission Acc. Reserves
26 | 350 | Land and Land Rights |  | 0 |  | 0
27 | 352 | Structures and improvements |  | 3250108.34 |  | 3250108.34
28 | 353 | Station Equipment |  | 43619606.38 |  | 43619606.38
29 | 354 | Towers and fixtures |  | 5675684.04 |  | 5675684.04
30 | 355 | Poles and fixtures |  | 33534450.74 |  | 33534450.74
31 | 356 | Overhead conductors and devices |  | 17334506.51 |  | 17334506.51
32 | 359 | Roads and trails |  | 57960.53 |  | 57960.53
33 |  | Adjustment for PRP Transformer Plant to Hydro |  | -6028246 |  | -6028246
34 |  | Adjustment for PRP Radial Lines to Hydro |  | -12375000 |  | -12375000
35 |  | Subtotal Transmission Acc. Reserves |  | 85069070.54 |  | 85069070.54
Distribution Acc. Reserves
36 | 360 | Land and Land Rights |  | 0 |  |  | 0
37 | 361 | Structures and improvements |  | 833037.1 |  |  | 833037.1
38 | 362 | Station equipment |  | 67203015.31 |  |  | 67203015.31
39 | 364 | Poles, towers and fixturs |  | 58325367.31 |  |  | 58325367.31
40 | 365 | Overhead conductors and devices |  | 40533788.97 |  |  | 40533788.97
41 | 366 | Underground conduit |  | 5303765.37 |  |  | 5303765.37
42 | 367 | Underground conductors and devices |  | 35724309.34 |  |  | 35724309.34
43 | 368 | Line Transformers |  | 56494426.13 |  |  | 56494426.13
44 | 369 | Services |  | 18201945.98 |  |  | 18201945.98
45 | 370 | Meters |  | 12440718.15 |  |  | 12440718.15
46 | 373 | Street lighting and signal systems |  | 5481503.55 |  |  | 5481503.55
47 |  | Subtotal Distribution Acc. Reserves |  | 300541877.21 |  |  | 300541877.21
General Reserves
48 | 389 | Land and Land Rights |  | 0 | 0 | 0 | 0
49 | 390 | Structures and improvements | 1/ | 28196102.49 | 17631696 | 4174085 | 6390322
50 | 391 | Office furniture and equipment | 1/ | 43429163.29 | 27157293 | 6429151 | 9842719
51 | 392 | Transportation equipment | 1/ | 20261895.72 | 12670247 | 2999523 | 4592125
52 | 393 | Stores equipment | 1/ | 210943.86 | 131908 | 31228 | 47808
53 | 394 | Tools, shop and garage equipment | 1/ | 4423303.23 | 2765997 | 654815 | 1002491
54 | 395 | Laboratory equipment | 1/ | 493371.12 | 308517 | 73037 | 111817
55 | 396 | Power operatied equipment | 1/ | 368133.91 | 230203 | 54498 | 83433
56 | 397 | Communication equipment | 1/ | 144966008.98 | 90650708 | 21460427 | 32854875
57 | 398 | Miscellanious equipment | 1/ | 4216258.83 | 2636527 | 624165 | 955566
58 | 397 | Adj. to Remove Fiber Plant Costs |  | -109686165 | -68589379 | -16237682 | -24859105
59 | 390 | Adj. to Remove Generation Function Plant |  | -11881870 | -7430017 | -1758964 | -2692889
60 | 391 | Adj. to Office Furniture and Equipment |  | -18976641 | -11866547 | -2809257 | -4300837
61 | 398 | Adj. to Misc. Equipment |  | -2745566 | -1716868 | -406447 | -622251
62 |  | Subtotal General Acc. Reserves |  | 103274939.43 | 64580285 | 15288579 | 23406074
63 |  | Total Accumulated Reserves |  | 985982531.96 | 559845701.04 | 101081182.54 | 325055646.21
| 1/ | WAGES & SALARY ALLOCATOR (W&S) - See Allocation Factor-Exh. III tab, Lines 15-20. |  |  |  | ($ / Allocation)
|  | Production |  |  |  | 51.3%
|  | Transmission -- WST |  |  |  | 14.8%
|  | Distribution -- WSD |  |  |  | 22.66%
|  | Other - Non General |  |  |  | 11.23% | 62.53%
|  | Total |  |  |  | 100%

## NPIS & Rate Base-Exh. VII
Grant County Public Utility District
Net Plant In Service
Line | Account |  |  | Net Plant | Hydro -
No. | Number | Description |  | In Service | Production | Transmission | Distribution
|  |  |  | (1) | (2) | (3) | (4)
|  |  |  | $ | $ | $ | $
Intangible Net Plant In Service
1 | 301 | Organization | 1/ | 30373 | 18993 | 4496 | 6884
2 | 302 | Franchises and consents | 1/ | 31511410.81 | 0 | 0 | 0
3 | 302 | Assignable Directly to Generation |  | 31509522 | 31509522 | 0 | 0
4 | 302 | Net 302 Allocated to all functions |  | 1888.81 | 1181 | 280 | 428
5 | 303 | Miscellaneous intangible plant | 1/ | 89931919.71 | 0 | 0 | 0
6 | 303 | Adjustment for OC & PEC Plant to Hydro |  | 8000000 | 8000000 | 0 | 0
7 | 303 | Adjustment for Hatchery Intangible Plant |  | 22608660 | 22608660 | 0 | 0
8 | 303 | FERC Relicensing Costs |  | 43599246 | 43599246 | 0 | 0
9 | 303 | Net 303 Allocated to all functions |  | 15724014.03 | 9832601 | 2327746 | 3563666
10 |  | Subtotal Intangible Net Plant In Service |  | 121473703.52 | 115570203 | 2332522 | 3570978 | 121473703
Hydro Production
11 | 330 | Land and Land Rights |  | 19685660.3 | 19685660.3
12 | 331 | Structures and improvements |  | 119260410.14 | 119260410.14
13 | 332 | Reservoirs, dams, and waterways |  | 395973980.57 | 395973980.57
14 | 333 | Water sheels, turbines and generators |  | 458649459.55 | 458649459.55
15 | 334 | Accessory electric equipment |  | 31297965.8 | 31297965.8
16 | 335 | Miscellaneous power plant equipment |  | 30872092.78 | 30872092.78
17 | 336 | Roads, railroads and bridges |  | 745255.47 | 745255.47
18 |  | Adjustment for PRP Transformer Plant to Hydro |  | 33383814 | 33383814
19 |  | Adjustment for PRP Radial Lines to Hydro |  | 12375000 | 12375000
20 |  | Adj. to Remove Generation Function Plant |  | 153431128 | 153431128
21 |  | Adj. to Office Furniture and Equipment |  | 179098 | 179098
22 |  | Adj. to Misc. Equipment |  | 1009733 | 1009733
23 |  | Subtotal Hydro Production Net Plant In Service |  | 1256863597.61 | 1256863597.61
Other Production (Wind)
24 | 346 | Miscellaneous power plant equipment |  | 8896.72 | 8896.72
25 |  | Subtotal Production Net Plant In Service |  | 8896.72 | 8896.72
Transmission Net Plant In Service
26 | 350 | Land and Land Rights |  | 2002732.05 |  | 2002732.05
27 | 352 | Structures and improvements |  | 2656688.09 |  | 2656688.09
28 | 353 | Station Equipment |  | 44022666.72 |  | 44022666.72
29 | 354 | Towers and fixtures |  | 4071918.01 |  | 4071918.01
30 | 355 | Poles and fixtures |  | 53738918.7 |  | 53738918.7
31 | 356 | Overhead conductors and devices |  | 43039518.39 |  | 43039518.39
32 | 359 | Roads and trails |  | 24309.17 |  | 24309.17
33 |  | Adjustment for PRP Transformer Plant to Hydro |  | -33383814 |  | -33383814
34 |  | Adjustment for PRP Radial Lines to Hydro |  | -12375000 |  | -12375000
35 |  | Subtotal Transmission Net Plant In Service |  | 103797937.13 |  | 103797937.13
Distribution Net Plant In Service
36 | 360 | Land and Land Rights |  | 853208.64 |  |  | 853208.64
37 | 361 | Structures and improvements |  | 219346.53 |  |  | 219346.53
38 | 362 | Station equipment |  | 108898513.93 |  |  | 108898513.93
39 | 364 | Poles, towers and fixturs |  | 33926803.2 |  |  | 33926803.2
40 | 365 | Overhead conductors and devices |  | 52432731.61 |  |  | 52432731.61
41 | 366 | Underground conduit |  | 17001501.52 |  |  | 17001501.52
42 | 367 | Underground conductors and devices |  | 60753674.78 |  |  | 60753674.78
43 | 368 | Line Transformers |  | 18655744.88 |  |  | 18655744.88
44 | 369 | Services |  | 3137154.92 |  |  | 3137154.92
45 | 370 | Meters |  | 11049004.91 |  |  | 11049004.91
46 | 373 | Street lighting and signal systems |  | 1626596.89 |  |  | 1626596.89
47 |  | Subtotal Distribution Net Plant In Service |  | 308554281.81 |  |  | 308554281.81
General Net Plant In Service
48 | 389 | Land and Land Rights | 1/ | 2377715.5 | 1486842 | 351991 | 538882
49 | 390 | Structures and improvements | 1/ | 192567158.64 | 120416844 | 28507189 | 43643126
50 | 391 | Office furniture and equipment | 1/ | 242893.81 | 151887 | 35957 | 55049
51 | 392 | Transportation equipment | 1/ | 2149909.32 | 1344390 | 318268 | 487252
52 | 393 | Stores equipment |  | 0 | 0 | 0 | 0
53 | 394 | Tools, shop and garage equipment | 1/ | 4629537.64 | 2894960 | 685346 | 1049231
54 | 395 | Laboratory equipment |  | 0 | 0 | 0 | 0
55 | 396 | Power operated equipment |  | 0 | 0 | 0 | 0
56 | 397 | Communication equipment | 1/ | 93621863.39 | 58543987 | 13859560 | 21218316
57 | 398 | Miscellanious equipment | 1/ | 1321465.59 | 826344 | 195627 | 299495
58 | 397 | Adj. to Remove Fiber Plant Costs | 1/ | -70837455 | -44296353 | -10486610 | -16054492
59 | 390 | Adj. to Remove Generation Function Plant |  | -153431128 | -95944149 | -22713583 | -34773396
60 | 391 | Adj. to Office Furniture and Equipment |  | -179098 | -111994 | -26513 | -40590
61 | 398 | Adj. to Misc. Equipment |  | -1009733 | -631410 | -149478 | -228844
62 |  | Subtotal General Net Plant In Service |  | 71453129.89 | 44681348 | 10577754 | 16194029
63 |  | Total Net Plant In Service |  | 1862151546.68 | 1417124045.33 | 116708213.13 | 328319288.81
64 |  | Materials & Supplies - See M&S Prepayments-Exh.VIII | 1/ | 17955611.71 | 11228073 | 2658106 | 4069432
65 |  | Prepayments - See M&S Prepayments-Exh. VIII |  | 1584122.98 | 1584123
66 |  | Cash Working Capital |  | 6434865 | 2516491 | 1350966 | 2567408
67 |  | Net Rate Base |  | 1888126146.37 | 1432452732.33 | 120717285.13 | 334956128.81
68 |  | Rate Of Return |  | 4.9% | 4.9% | 4.9% | 4.9%
69 |  | Return |  | 92518181 | 70190184 | 5915147 | 16412850
| 1/ | WAGES & SALARY ALLOCATOR (W&S) - See Allocation Factor-Exh. III tab, Lines 15-20. |  |  |  | ($ / Allocation)
|  | Production |  |  |  | 51.3%
|  | Transmission -- WST |  |  |  | 14.8%
|  | Distribution -- WSD |  |  |  | 22.66%
|  | Other - Non General |  |  |  | 11.23% | 62.53%
|  | Total |  |  |  | 100%

## M&S & Prepayments-Exh. VIII
Grant County Public Utility District
Materials and Supplies and Prepayments
[6 empty] | WAGES & SALARY ALLOCATOR (W&S) See |  |  | Wages and Salaries Allocator
Line | FERC |  | Total |  | Adjusted | Allocation Factor-Exh. III tab, Lines 15-20.
No. | Acct No. | FERC Acct Name | Expenses | Adjustments | Expenses | Transmission | Distribution | Production | Transmission | Distribution | Production | Total
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l)
[9 empty] | (e)*(f) | (e)*(g) | (e)*(h) | (i)+(j)+(k)
Materials and Supplies:
1 | 154 | Plant Materials and Operating Supplies | 16397481.7 | 0 | 16397481.7 | 14.8% | 22.66% | 62.53% | 2427444.573 | 3716300.1714 | 10253736.9556 | 16397481.7
2 | 163 | Stores Expense Undistributed | 1558130.01 | 0 | 1558130.01 | 14.8% | 22.66% | 62.53% | 230661.8971 | 353132.2022 | 974335.9107 | 1558130.01
3 |  | Total Materials and Supplies | 17955611.71 | 0 | 17955611.71 |  |  |  | 2658106.4701 | 4069432.3736 | 11228072.8662 | 17955611.71
Prepayments
4 | 165 | Prepayments | 1584122.98 |  | 1584122.98 | 0% | 0% | 100% | 0 | 0 | 1584122.98 | 1584122.98
5 |  | Total Prepayments | 1584122.98 | 0 | 1584122.98 |  |  |  | 0 | 0 | 1584122.98 | 1584122.98

## Taxes-Other-Exh. IX
Grant County Public Utility District
Taxes Other Than Income Taxes
Line |  | FERC | December
No. | Description | Account #s | 2018
Per Books for 2018
1 | Elect Revenue-Taxes Fiber | 1001-408050 | 18723.93
2 | Elect Revenue-Taxes Utility | 1001-408100 | 7936039.41
3 | Elect Revenue-Taxes Privilege | 1001-408200 | 4201527.01
4 | Elect Revenue-Taxes City | 1001-408400 | 2448395.24
5 | Elect Revenue-Taxes Fire District | 1001-408501 | 219476.16
6 | Elect Revenue-Taxes Privilege QC | 1001-408510 | 6769.79
7 | Elect Revenue-Taxes Privilege PEC | 1001-408600 | 4233.51
8 | PRP Revenue-Taxes Privilege | 7001-408200 | 1966134.08
9 | PRP Revenue-Taxes Water Utility | 7001-408210 | 0
10 | PRP Revenue-Taxes Wastewater Utility | 7001-408220 | 0
11 | Total |  | 16801299.13
Amounts included in the Cost of Service Factors in Cost of Service Factors-Exh. 1 tab
The 2017 COSA determined that the only Taxes-Other Than Income related to
Transmission services were Public Utility Tax. In the 2019 COSS, this tax was used
to calculate Taxes-Other, but also included was the Fire Protection District Tax.
Both of these taxes are based on a percentage of revenue. See the below
calculation:
Tax Percentage
|  | Tax Percentage | Based on Amount
|  | Based on | of Public Utility
|  | Revenue | Tax Paid
Taxes Attributable to Transmission Services
Elect Revenue-Taxes Privilege-the formula is:
12 | (Total retail revenue +Other Retail Rev+ Other Power Service revenue + 28% of CIAC - total PEC & QC costs - .154% of retail revenue ) X .03873 = Total Tax | 3.873%
Elect Revenue-Taxes Fire District-the formula is:
13 | Amount established by the state based on amount of public utility tax paid by the utility. PUT X .028545832 |  | 0.111%
Total Percentage Assessed to
14 | Transmission Cost of Service |  | 3.984%
This percentage will be applied to the Per Unit
Cost of Service factor developed in Cost of Service Factors-Exh. I tab

## Rate of Return-Exh. X
Grant County Public Utility District
Change in Net Position
Line |  |  | Capitalization | Cost of | Weighted Average
No. | Capital Component |  | Ratio (Note A) | Capital | Cost of Capital
| (a) |  | (b) | (c) | (d)
Return/Capitalization Calculations:
1 | Long Term Debt | (Note B) | 60% | 3.5% | 2.1%
2 | Proprietary Capital | (Note C) | 40% | 7% | 2.8%
3 | Total |  | 100% |  | 4.9%
Notes
A | Target capitalization ratio established by Grant County PUD.
B | Average cost of Grant County PUD's outstanding long-term debt.
C | Cost of equity based on the Grant PUD Commission approved return on equity (ROE).

## Revenue Credits-Exh. XI
Grant County Public Utility District
Revenue Credits
Allocation
Line | FERC |  |  | 1 | 1
No. | Acct No. | FERC Acct Name | Description | Transmission | Distribution | Plant | Labor | Other | Total | Comments re: Allocation
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
Other Revenues:
1 | 450 | Forfeited Discounts | Elect Revenue-Penalty For Late Payment |  | 1129691.96 |  |  |  | 1129691.96 | Related to retail service.
2 | 451 | Miscellaneous Service Revenues | Elect Revenue-Misc Service Revenue |  | 2870955.2 |  |  |  | 2870955.2 | Related to retail service.
3 | 454 | Rent from Electric Property | Elect Revenue-Other Electric Revenues |  | 382849.9 |  |  |  | 382849.9 | Related to retail service.
4 |  | Total Other Revenues |  | 0 | 4383497.06 | 0 | 0 | 0 | 4383497.06
Wheeling Revenues:
5 | 456 | Other Electric Revenues | Puget Sound Energy | 165252 |  |  |  |  | 165252 | Facilities with DSO
6 | 456 | Other Electric Revenues | Vantage Energy | 142608 |  |  |  |  | 142608 | Facilities with DSO
7 | 456 | Other Electric Revenues | Seattle City Light | 53568 |  |  |  |  | 53568 | Exchange/PTP-LTF
8 | 456 | Other Electric Revenues | Tacoma Power | 53568 |  |  |  |  | 53568 | Exchange/PTP-LTF
9 |  | Total Wheeling Revenues |  | 414996 | 0 | 0 | 0 | 0 | 414996

## System Load-Exh. XII
Grant County Public Utility District
System Load
|  | 2018 BA Hourly Peak | Loads - NCP (Note A) |  |  |  |  | 2018 System Load Hourly Peak |  | USBR Large | (Note B) | Adjusted System Load
Line No. | Month | Calc'd GCPD_BA_LOAD MMAX | Schrag | Kittitas | Palisades | USBR Large Loads | USBR Small Loads Estimate | Calc'd GCPD_SYST_LOAD MMAX | Billing Units for all load using 115/230 but not using PTP | 115/230 Only Load During Peak | Firm Point to Point Load | 13.2kV System Load - billing Units for load delivered to 13.2 kV | Total Billing units for 115/230 System including PTP
| (a) | (b) | (d) | (e) | (f) | (g) | (h) | (i) | (k) | (l) | (m) | (n) | (o)
[9 empty] | d+e+f+g+h+i |  |  | (k)-(l) | k+m
1 | Jan | 661.2 | 1.74 | 1.12 | 2.37 | 1.0544 | 1.12 | 672.1667 | 679.5711 | 0.1592 | 0 | 679.4119 | 679.5711
2 | Feb | 729.98 | 2.92 | 1.03 | 2.371 | 1.0736 | 0.29 | 746.1129 | 753.7975 | 0.1663 | 0 | 753.6312 | 753.7975
3 | Mar | 651.76 | 3.72 | 1.77 | 2.52 | 18.8048 | 0.44 | 665.0277 | 692.2825 | 12.1861 | 0 | 680.0964 | 692.2825
4 | Apr | 632.204 | 6.81 | 1.38 | 2.23 | 21.6616 | 0.39 | 627.3957 | 659.8673 | 14.6838 | 0 | 645.1836 | 659.8673
5 | May | 728.812 | 14.57 | 0.96 | 2.96 | 26.8432 | 2.35 | 711.976 | 759.6592 | 18.5037 | 0 | 741.1555 | 759.6592
6 | Jun | 772.502 | 14.89 | 1.12 | 4.07 | 30.9182 | 1.87 | 747.4163 | 800.2844 | 21.5682 | 0 | 778.7162 | 800.2844
7 | Jul | 847.633 | 14.43 | 1.31 | 4.72 | 33.6655 | 1.23 | 819.3534 | 874.7089 | 23.493 | 0 | 851.2158 | 874.7089
8 | Aug | 831.302 | 12.34 | 1.23 | 5.23 | 32.7662 | 2.63 | 807.5234 | 861.7197 | 22.633 | 0 | 839.0867 | 861.7197
9 | Sep | 701.547 | 12.92 | 0.92 | 5.05 | 24.6716 | 1.68 | 681.7359 | 726.9775 | 17.2848 | 0 | 709.6927 | 726.9775
10 | Oct | 646.529 | 10.45 | 0.74 | 3.94 | 18.1456 | 1.19 | 636.6547 | 671.1203 | 12.1424 | 0 | 658.9779 | 671.1203
11 | Nov | 682.3 | 2.38 | 0.76 | 3.27 | 1.1001 | 0.1 | 693.9964 | 701.6066 | 0.17543 | 0 | 701.4311 | 701.6066
12 | Dec | 707.44 | 2.58 | 0.67 | 2.13 | 0.98922 | 0.9 | 721.0494 | 728.3186 | 0.17239 | 0 | 728.1463 | 728.3186
13 | Average | 716.1008 | 8.3125 | 1.0842 | 3.4051 | 17.6412 | 1.1825 | 710.8674 | 742.4928 | 11.9307 | 0 | 730.5621 | 742.4928
Notes
A | Loads reflect NCP billing determinants
B | Grant County PUD has no firm point to point customers as of December 31, 2018.

## Explanation of Differences
Explanation of Differences Between the 2019 COSS and the 2017 COSA | Transmission
Differences-$
The primary difference between the 2019 COSS and the 2017 COSA per unit cost calculation is the
methodology used to calculate the results. The 2019 COSS employs a traditional FERC cost of
service model which analyzes the embedded data in developing the cost components, such as O&M
expenses, Depreciation expense, Taxes - Other Than Income Taxes, Return on Investment, and
Revenue Credits. This methodolgy used the accrual basis of accounting. Where as the 2017 COSA
is primary based on 2015 forecasted data averaged over a 5-year period to develop a cash basis
revenue requirement. This method used cost components such as O&M (transmission and allocated
A&G), Debt and Cash used in Plant Investment, Power - Sales to Other Utilities, Broadband
Network Sales, Interest/JLB payments/Misc., and Contributions In Aid of Construction.
2019 COSS cost $/kW-month | 2.51
2017 COSA cost $/kW-month | 1.9
Difference | 0.61
2019 COSS - cost of service approach | 21487907.7
2017 COSA - cash revenue requirement approach | 18099953
Difference | 3387954.7
Rate Impact of Increased Cost | 0.34
Explanation of Differences
O&M Expenses differences
For details of the dollar differences between the two methodologies, see the attached sheet detailing
the differences. Of note, is the difference between O&M expenses.
2019 COSS O&M expenses (includes transmission and A&G O&M expenses) | 10686042.7
2017 COSA O&M expenses (includes transmission and A&G O&M expenses) | 6359279
Difference | 4326763.7
It was discovered through analysis that the 2017 COSA O&M expenses was not only a 5-year
forecasted amount, but the transmission amount declined from $4.5 m in 2015 to $3.0 m in 2019,
which is a 34% reduction in transmission O&M expense. For the 2017 COSA it was projected these
expenses would decrease over time. But, as can seen in staff's analysis these expenses have increased
over time.
Depreciation Differences
Under accrual accounting, depreciation expense is calculated and is part of the cost of service
calculation, where as depreciation expense is not calculated under the cash approach
2019 COSS depreciation expenses | 5301714
2017 COSA depreciation expenses | 0
Difference | 5301714
Taxes - Other Than Income
The COSS model calculated transmission taxes - other based on 2018 actuals, while 2017 COSA
did not calculate Taxes - other
2019 COSS taxes - other expenses | 0
2017 COSA taxes - other expenses | 0
Difference | 0
For the 2019 COSS, the Taxes-Other Than Income Taxes have been calculated to be consistent with
2017 COSA and are a percentage of revenue added to the Cost of Service Factors. Taxes include
the Public Utility Tax and the Fire Protection District at 3.984% of revenues.
Return on Investment
Staff calculated a return on investment on a net plant position in the 2019 COSS, where the 2017
COSA used a combination of debt and cash used in plant investment.
2019 COSS return on investment approach | 5915147
2017 COSA debt and cash approach | 19002613
Difference | -13087466
By using the net transmission investment, the 2019 COSS model produces a rate of return of 6.02%.
By using the same net transmission investment, the 2017 COSA model produces a rate return of 9.27%,
a higher return on investment, a 53.99% increase.
Revenue Credits
2019 COSS Other Revenue Credits | -414996
2017 COSA Other Revenue Credits | -547513
Difference | 132517
In addition, the 2017 COSA used the following other items to calculate the required cash
revenue requirement - these items where not included in the 2019 COSS model
2017 COSA
Fiber Optic Network differences | -542905
Other Expenses differences | -5526618
Other Revenue From Others differences | 7257331
CIAC differences | 0
Tax Removal differences | 5526618
Subtotal | 6714426
Total Differences | 3387954.7
Another primary driver in the rate increase reflected above is the volume used to calculate the unit cost.
The 2019 COSS model used the historic 2018 system load. The 2017 COSA used a 5-year average
based on projected load growth
2019 COSS - Annual MW | 8909.9136
2017 COSA - Annual MW | 9912
Difference | -1002.0864
This resulted in a larger load and denominator in the design of the cost per unit. To illustrate the
impact, using the same cost of service - the 2019 COSS of $26,221,015
2019 COSS per unit cost | 2.41
2017 COSA per unit cost | 2.17
Increase caused by volume | 0.24

## Comparison to 2017 COSA
Cost of Service Comparison
Transmission/Wholesale
|  | New | Old |  | New | Old
|  | Transmission | Transmission |  | Distribution | Distribution
Line |  | Cost of Service | Cost of Service |  | Cost of Service | Cost of Service
No. | Description | ("COSS") | ("COSA") | Difference | ("COSS") | ("COSA") | Difference
|  | -1 | -2 | -3 | -4 | -5 | -6
|  | $ | $ | $ | $ | $ | $
Operation and Maintenance Expense
1 | Transmission (net of Acct. 565) | 6097745.7 | 3083165 | 3014580.7 | 0 | 0 | 0
2 | Distribution | 0 | 0 | 0 | 13561222.21 | 11324518 | 2236704.21
3 | Administrative and General (net of Acct. 924) | 4520798 | 3276114 | 1244684 | 6921123 | 8950571 | -2029448
4 | Administrative and General (Acct. 924) | 67499 | 0 | 67499 | 189795 |  | 189795
5 | Total Operational and Maintenance Expense | 10686042.7 | 6359279 | 4326763.7 | 20672140.21 | 20275089 | 397051.21
Depreciation Expense
6 | Transmission | 4379064 | 0 | 4379064 | 0 | 0 | 0
7 | General | 786350 | 0 | 786350 | 1203864 | 0 | 1203864
8 | Intangible | 136300 | 0 | 136300 | 208669 | 0 | 208669
9 | Distribution | 0 | 0 | 0 | 19942592 | 0 | 19942592
10 | Total Depreciation | 5301714 | 0 | 5301714 | 21355125 | 0 | 21355125
Taxes - Other Than Income
11 | Plant Related | 0 | 0 | 0 | 0 | 0 | 0
12 | Labor Related | 0 | 0 | 0 | 0 | 0 | 0
13 | Other Related | 0 | 0 | 0 | 0 | 0 | 0
14 | Total Taxes-Other Than Income | 0 | 0 | 0 | 0 | 0 | 0
15 | Return | 5915147 | 19002613 | -13087466 | 16412850 | 30370828 | -13957978
Revenue Credits
16 | Production | 0 | 0 | 0 | 0 |  | 0
17 | Transmission | -414996 | -547513 | 132517 | 0 |  | 0
18 | Distribution | 0 | 0 | 0 | -4383497.06 | -6381665 | 1998167.94
19 | Total Revenue Credits | -414996 | -547513 | 132517 | -4383497.06 | -6381665 | 1998167.94
2015 COSA Items Used in Development Not Used in 2019 COSS
20 | Fiber Optic Network | 0 | 542905 | -542905 | 0 | 950229 | -950229
21 | Other Expenses | 0 | 5526618 | -5526618 | 0 | 8049490 | -8049490
22 | Other Revenue From Others | 0 | -7257331 | 7257331 | 0 | -10963222 | 10963222
23 | CIAC | 0 | 0 | 0 | 0 | -4871162 | 4871162
24 | Tax Removal | 0 | -5526618 | 5526618 | 0 | -8049490 | 8049490
25 | Subtotal | 0 | -6714426 | 6714426 | 0 | -14884155 | 14884155
26 | Total Cost of Service | 21487907.7 | 18099953 | 3387954.7 | 54056618.15 | 29380097 | 24676521.15

## 2015 COSA
2015 COSA and Rates for Transmission and Distribution
| Transmission | Distrubution
| 2015 | 2015 |  | Rate Design
| ("COSA") | ("COSA") |  | 115 kV | 13.2kV
Transmission/Distribution O&M | 3083165 | 11324518 | USBR Billing Units | 221 | 70 | MW/month
Fiber Optic Network | 542905 | 950229 | System Load Billing Units | 9691 | 9691 | MW/month
Administrative & General O&M | 3276114 | 8950571
Debt Service Existing | 6064004 | 8503566 | Total Billing Units | 9912 | 9761 | MW/month
Debt Service Proposed | 1250254 | 1753235 | Revenue Requirement | 18099953 | 29380097
Other Expenses | 5526618 | 8049490
Cash Financed Capital Projects | 11688355 | 20114027 | Monthly Billing Rate | 1.83 | 3.01
Total Revenue Requirement | 31431415 | 59645636 | WA State Public Utility Tax | 3.8% | 3.8%
Other Revenue From Others | -7257331 | -10963222 | Billing Rate with Tax Included | 1.9 | 3.12
CIAC | 0 | -4871162
Total Net Revenue Requirements | 24174084 | 43811252
Tax Removal | -5526618 | -8049490
Total Net Revenue Requirements, Less Taxes | 18647466 | 35761762
Other Revenues and Deductions
Small Load Revenue | -48304 | -190020
Nine Canyon Wind - Transmission Removal | -317168
QC - Transmission Removal | -1123
PEC - Transmission Removal | -918
Kittitas Distribution Revenue |  | -14000
Schrag Revenue | -70000
Palisades Revenue | -3000
SCL/TCL Exchange | -107000
Line Transformers | 0 | -6177645
Total | -547513 | -6381665
Total Net Revenue Requirement | 18099953 | 29380097
Note on C17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Includes 5-yr average of Fiber Revenue, Interest and Other Income, and RPR repayment of loan to electric system